## Sheet1
Property_ID | R | C | TTC | RMSE | Monthly_Heating_Electricity_Consumption_kWh | Daily_electricity_consumption_m12 | Monthly_Heating_Heat_Consumption_kWh | Max_Internal_Temperature | Min_Internal_Temperature | Max_External_Temperature | Min_External_Temperature | Most_Frequent_Internal_Temperature | Most_Frequent External_Temperature | Bedrooms | Habitable_Rooms | Heated_rooms | No_Residents | HP_Size_kW | House_Income | Postcode | City | Region_UK | Coldest_day_Whole_System_Energy_Consumed | average_daily_energy_consumption_winter | Wall_Type | Floor_Type | Roof_Type | Total_Floor_Area | ColdestR_winter_Time_2 | ColdestR_Value_kW_2 | MAX_CONS_1H_5 | MAX_CONS_3H_5 | MIN_TEMP_COLDEST_R_5 | TEMP_EXT_COLDEST_R_5 | MAX_CONS_1H_within_3h_6
EOH2088 | 4.4697 | 34.8469 | 155.7552 | 0.22584 | 227.8692 | 7.5956 | 535.6658 | 31.4 | 14.24 | 35.9 | -4.6 | 17 | 13 | 4 | 6 | 12 | 2 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 33.16 | 14.2619 | Cavity_Insulated | Solid | Pitched | 109 | 2022-01-06 04:00 | 0.06 | 3.724 | 7.785 | 18.99 | -3.92 | 2.538
EOH0069 | 7.1563 | 21.2096 | 151.7813 | 0.20984 | 174.1675 | 5.8056 | 469.9942 | 26.22 | 16.43 | 35.9 | -4.6 | 19 | 7 | 3 | 4 | 7 | 4 | 4 | 50,001+ | NE | Newcastle | North England | 3.3 | 11.1293 | Cavity_No_insulation | Solid | Pitched | 99 | 2022-01-06 04:00 | 0.15 | 0.895 | 1.74 | 19.15 | 2.89 | 0.004
EOH0645 | 10.3102 | 14.426 | 148.7352 | 0.25787 | 131.2292 | 4.3743 | 215.3208 | 28.33 | 12.45 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 10 | 2 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 4.06 | 7.1902 | Cavity_Insulated | Solid | Pitched | 112 | 2022-01-06 04:00 | 0.15 | 0.923 | 1.948 | 20.47 | 2.28 | 0.741
EOH0248 | 3.2013 | 45.5187 | 145.7172 | 0.1823 | 292.5658 | 9.7522 | 852.5708 | 23.58 | 14.01 | 30.66 | -4.2 | 20 | 15 | 3 | 5 | 5 | 3 | 8.5 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 32.42 | 17.7412 | Cavity_Insulated | Suspended | Pitched | 91.98 | 2022-02-11 07:00 | 2.64 | 2.713 | 5.371 | 19.33 | 1.35 | 0.028
EOH1839 | 4.8759 | 29.504 | 143.8581 | 0.28433 | 281.6625 | 9.3887 | 753.1283 | 36.01 | 13.62 | 37.54 | -3.3 | 19 | 16 | 4 | 7 | 7 | 4 | 8.5 | Prefer not to say | BN | Brighton | South England | 31.88 | 18.3899 | Cavity_Insulated | Suspended | Pitched | 160 | 2022-01-06 07:00 | 1.74 | 2.506 | 5.831 | 17.66 | -0.68 | 1.818
EOH0571 | 3.1435 | 45.6174 | 143.4006 | 0.31387 | 384.8925 | 12.8297 | 1136.7442 | 25.44 | 15.48 | 30.68 | -3.7 | 19 | 10 | 3 | 5 | 5 | 5 | 7 | Prefer not to say | FK | Falkirk | Scotland | 24.75 | 21.9529 | Cavity_Insulated | Suspended | Pitched | 94.34 | 2022-02-11 07:58 | 0.03 | 2.964 | 7.368 | 18.85 | -2.77 | 2.857
EOH1712 | 10.9528 | 12.4248 | 136.0865 | 0.38914 | 317.9433 | 10.5981 | 869.3567 | 26.26 | 16.08 | 26.8 | -4.6 | 22 | 7 | 3 | 5 | 7 | 4 | 4 | 12,501 - 16,200 | NE | Newcastle | North England | 10.91 | 3.2291 | Cavity_Insulated | Suspended | Pitched | 116 | 2022-01-06 04:00 | 0.18 | 0.807 | 1.703 | 21.41 | -3.76 | 0.095
EOH0236 | 10.74 | 12.6314 | 135.6623 | 0.37338 | 170.4775 | 5.6826 | 317.4808 | 26 | 13.75 | 26.8 | -8.2 | 20 | 7 | 2 | 3 | 5 | 3 | 4 | 16,201 - 20,000 | NE | Newcastle | North England | 4.9 | 2.8775 | Cavity_Insulated | Suspended | Pitched | 61 | 2022-01-06 04:00 | 0.09 | 0.942 | 2.18 | 19.93 | 2.18 | 0.149
EOH2672 | 2.8726 | 43.4411 | 124.7888 | 0.20399 | 363.5892 | 12.1196 | 1053.5242 | 31.38 | 16.53 | 36.5 | -3.3 | 22 | 10 | 3 | 5 | 5 | 2 | 8.5 | 50,001+ | TN | Tonbridge | South England | 38.62 | 22.3791 | Cavity_Insulated | Solid | Pitched | 83.5 | 2022-01-21 08:00 | 2.85 | 2.754 | 7.291 | 21.09 | -0.9 | 1.97
EOH1426 | 4.3854 | 27.5685 | 120.8993 | 0.24589 | 489.0425 | 16.3014 | 1558.1075 | 26.99 | 15.2 | 30.68 | -4.1 | 21 | 15 | 3 | 5 | 5 | 4 | 11.2 | 50,001+ | EH | Edinburgh | Scotland | 35.76 | 29.3512 | Cavity_Insulated | Suspended | Pitched | 129.92 | 2022-02-11 08:00 | 6.39 | 4.298 | 8.403 | 19.86 | 3.62 | 1.443
EOH0896 | 5.8123 | 20.2216 | 117.5343 | 0.21238 | 370.1325 | 12.3377 | 1139.9867 | 27.35 | 16.33 | 36.5 | -3.3 | 20 | 14 | 4 | 6 | 6 | 2 | 8.5 | 40,001 - 50,000 | ME | Medway | South England | 44.86 | 23.4571 | Cavity_Insulated | Solid | Pitched | 97.52 | 2022-01-21 08:00 | 1.62 | 2.259 | 5.569 | 19.14 | -1.02 | 1.356
EOH1888 | 10.1257 | 11.5728 | 117.1825 | 0.27518 | 142.8992 | 4.7633 | 444.2833 | 25.35 | 11.1 | 30.68 | -3.7 | 18 | 10 | 2 | 3 | 3 | 1 | 8.5 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 21.92 | 9.7628 | Cavity_Insulated | Solid | Pitched | 90.12 | 2022-02-11 08:00 | 0.93 | 0.969 | 2.826 | 16.94 | -3.54 | 0.862
EOH0737 | 3.3181 | 35.2094 | 116.8294 | 0.18589 | 348.0992 | 11.6033 | 804.7792 | 29.51 | 13.99 | 37.54 | -3.3 | 21 | 9 | 3 | 5 | 5 | 4 | 7 | Prefer not to say | BN | Brighton | South England | 11.32 | 25.7169 | Cavity_Insulated | Suspended | Pitched | 94 | 2022-01-06 07:00 | 2.37 | 2.311 | 5.293 | 17.61 | 6.07 | 1.972
EOH2025 | 6.0381 | 19.3168 | 116.6361 | 0.22449 | 189.9775 | 6.3326 | 514.1133 | 26.67 | 15.5 | 33.3 | -3.5 | 19 | 16 | 3 | 6 | 6 | 2 | 8.5 | 50,001+ | BN | Brighton | South England | 23.11 | 12.007 | Cavity_Insulated | Suspended | Pitched | 88 | 2022-01-06 06:00 | 1.29 | 2.33 | 5.6 | 17.45 | 4.29 | 1.432
EOH0231 | 7.812 | 14.5034 | 113.301 | 0.46405 | 517.7408 | 17.258 | 1237.3592 | 27.5 | 16.75 | 34.37 | -5.4 | 23 | 14 | 2 | 4 | 4 | 1 | 5 | Prefer not to say | TD | Galashiels | Scotland | 43.36 | 6.8125 | Cavity_Insulated | Solid | Pitched | 68.4 | 2021-11-29 03:00 | 2.07 | 2.796 | 6.711 | 22.56 | -4.89 | 2.231
EOH3089 | 2.9481 | 36.7728 | 108.4114 | 0.19251 | 436.0958 | 14.5365 | 1248.7542 | 28.03 | 13.55 | 37.54 | -3.3 | 18 | 15 | 5 | 8 | 10 | 4 | 8.5 | 50,001+ | BN | Brighton | South England | 38.07 | 25.4235 | Cavity_Insulated | Solid | Pitched | 139 | 2022-01-06 07:00 | 2.22 | 3.057 | 7.538 | 16.76 | 4.06 | 1.898
EOH0709 | 4.8152 | 22.4589 | 108.1446 | 0.20176 | 328.4208 | 10.9474 | 784.2775 | 28.7 | 16.4 | 33.3 | -3.5 | 22 | 16 | 2 | 4 | 4 | 2 | 11.2 | 50,001+ | BN | Brighton | South England | 34.06 | 19.7707 | Solid_No_insulation | Suspended | Flat | 67 | 2022-01-06 06:00 | 1.35 | 2.709 | 5.205 | 22.08 | 7.93 | 1.103
EOH2320 | 4.1562 | 25.5695 | 106.2706 | 0.24355 | 504.55 | 16.8183 | 1130.9458 | 28.19 | 17.17 | 32.5 | -5.9 | 21 | 9 | 3 | 6 | 11 | 4 | 11.2 | Prefer not to say | GU | Guildford | South England | 53.49 | 40.1859 | Solid_No_insulation | Mix | Pitched | 124 | 2022-01-06 08:00 | 3.57 | 3.625 | 9.31 | 21.71 | 2.34 | 2.499
EOH1175 | 4.0072 | 26.2283 | 105.1018 | 0.21053 | 613.7725 | 20.4591 | 1523.9533 | 26.13 | 15.24 | 30.68 | -3.7 | 21 | 15 | 3 | 7 | 7 | 4 | 14 | 50,001+ | EH | Edinburgh | Scotland | 55.25 | 35.0161 | Cavity_Insulated | Suspended | Pitched | 207.83 | 2022-02-11 08:00 | 5.1 | 4.842 | 13.314 | 19.76 | 0.56 | 2.705
EOH2017 | 3.1707 | 33.0858 | 104.9041 | 0.41073 | 313.6758 | 10.4559 | 979.49 | 24.49 | 11.29 | 30.68 | -3.7 | 18 | 10 | 3 | 4 | 4 | 3 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 42.48 | 19.6257 | Cavity_Insulated | Solid | Pitched | 85.68 | 2022-02-11 08:00 | 3.12 | 3.018 | 5.722 | 12.77 | 4.32 | 1.921
EOH2133 | 10.4052 | 10.0697 | 104.7771 | 0.22641 | 249.4317 | 8.3144 | 639.9375 | 26.37 | 15.25 | 28.4 | -11.9 | 22 | 8 | 2 | 3 | 3 | 3 | 5 | Prefer not to say | TD | Galashiels | Scotland | 34.63 | 4.8793 | Cavity_Insulated | Solid | Pitched | 68.92 | 2021-02-11 07:00 | 1.83 | 2.696 | 6.184 | 23.68 | -10.95 | 2.084
EOH1602 | 4.6996 | 21.6681 | 101.8326 | 0.39334 | 417.9267 | 13.9309 | 1090.2833 | 25.56 | 13.18 | 31.3 | -11.8 | 20 | 6 | 3 | 4 | 4 | 5 | 12 | 50,001+ | EH | Edinburgh | Scotland | 45.36 | 9.7694 | Cavity_Insulated | Suspended | Pitched | 110.6 | 2021-01-09 08:00 | 2.43 | 4.483 | 11.839 | 19.06 | -11.59 | 1.508
EOH0166 | 4.9489 | 20.2006 | 99.9716 | 0.20878 | 273.1442 | 9.1048 | 640.96 | 29.41 | 7.98 | 33.3 | -3.5 | 20 | 10 | 2 | 5 | 5 | 2 | 8.5 | Prefer not to say | BN | Brighton | South England | 29.6 | 16.3088 | Cavity_Insulated | Solid | Pitched | 61 | 2022-01-06 06:00 | 0.03 | 0.037 | 0.094 | 9.77 | 7.69 | 0.027
EOH0764 | 6.2474 | 15.8943 | 99.2986 | 0.23766 | 209.3158 | 6.9772 | 621.165 | 26.87 | 15.62 | 32.3 | -4 | 20 | 16 | 4 | 7 | 7 | 2 | 8.5 | Prefer not to say | GU | Guildford | South England | 23.74 | 13.6093 | Cavity_Insulated | Suspended | Pitched | 93.2 | 2022-01-06 07:00 | 1.38 | 1.917 | 4.592 | 19.09 | -1.03 | 1.132
EOH2097 | 2.2119 | 44.5576 | 98.5578 | 0.29291 | 488.0458 | 16.2682 | 1301.1692 | 27.27 | 17.51 | 35.9 | -4.6 | 21 | 12 | 4 | 7 | 10 | 3 | 14 | 25,001 - 30,000 | NE | Newcastle | North England | 49.9 | 28.6647 | Cavity_Insulated | Solid | Pitched | 128 | 2022-01-06 04:00 | 4.26 | 4.539 | 11.044 | 19.29 | 1.37 | 2.581
EOH0546 | 3.7943 | 25.9624 | 98.5103 | 0.30258 | 376.9842 | 12.5661 | 871.8058 | 27.75 | 11.87 | 28.4 | -11.9 | 18 | 6 | 4 | 7 | 7 | 4 | 8.5 | 40,001 - 50,000 | TD | Galashiels | Scotland | 40.48 | 8.117 | Cavity_Insulated | Suspended | Pitched | 107.51 | 2021-02-11 07:00 | 3.63 | 3.099 | 7.835 | 17.12 | -11.49 | 2.071
EOH0411 | 4.0111 | 24.5445 | 98.4495 | 0.36883 | 297.3075 | 9.9102 | 820.0542 | 24.68 | 11.12 | 30.68 | -12.6 | 18 | 8 | 3 | 5 | 5 | 1 | 7 | 50,001+ | EH | Edinburgh | Scotland | 34.55 | 7.6777 | Cavity_Insulated | Suspended | Pitched | 103.08 | 2021-02-11 06:00 | 0.03 | 3.151 | 7.293 | 16.68 | -4.7 | 1.212
EOH0534 | 2.8849 | 33.7416 | 97.3412 | 0.27213 | 610.3175 | 20.3439 | 1784.3433 | 24.56 | 11.93 | 30.68 | -3.7 | 21 | 15 | 4 | 7 | 7 | 2 | 14 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 60.91 | 41.2427 | Cavity_Insulated | Suspended | Pitched | 203.45 | 2022-02-11 08:00 | 7.41 | 5.326 | 11.854 | 22.43 | 2.56 | 1.078
EOH1711 | 2.7322 | 35.5255 | 97.0637 | 0.20779 | 238.93 | 7.9643 | 933.6075 | 25.13 | 15.21 | 30.68 | -4.1 | 21 | 10 | 2 | 3 | 3 | 1 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 16.53 | 12.6941 | Cavity_Insulated | Suspended | Another Dwelling Above | 75.14 | 2022-02-11 08:00 | 1.23 | 2.109 | 5.013 | 18.93 | 4.32 | 0.034
EOH1818 | 6.1827 | 15.6952 | 97.0383 | 0.29893 | 271.3442 | 9.0448 | 942.9683 | 26.84 | 14.7 | 34.37 | -5 | 21 | 14 | 2 | 4 | 4 | 1 | 8.5 | Prefer not to say | TD | Galashiels | Scotland | 34.04 | 16.4108 | Cavity_Insulated | Suspended | Another Dwelling Above | 69.3 | 2021-11-29 03:00 | 0.12 | 2.206 | 6.478 | 21.44 | -4.54 | 2.181
EOH1406 | 4.142 | 23.0308 | 95.3927 | 0.22036 | 271.11 | 9.037 | 938.7867 | 23.9 | 12 | 30.68 | -4.1 | 20 | 10 | 3 | 5 | 5 | 3 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 20.03 | 14.6372 | Cavity_Insulated | Suspended | Another Dwelling Above | 91.76 | 2021-11-29 05:00 | 3.42 | 2.399 | 6.114 | 19.23 | -2.7 | 0.021
EOH2922 | 3.8613 | 24.5973 | 94.9765 | 0.3009 | 369.6658 | 12.3222 | 837.8767 | 30.18 | 15 | 30.68 | -12.6 | 22 | 8 | 2 | 3 | 3 | 2 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 45.16 | 7.5615 | Cavity_Insulated | Suspended | Pitched | 84.9 | 2021-02-11 06:00 | 3.06 | 2.728 | 7.875 | 21.12 | -11.85 | 1.68
EOH1502 | 4.1765 | 21.6262 | 90.3225 | 0.2732 | 487.9658 | 16.2655 | 1438.0308 | 23.29 | 18.42 | 30.66 | -4.2 | 20 | 15 | 3 | 4 | 4 | 3 | 7 | 20,001 - 25,000 | EH | Edinburgh | Scotland | 40.14 | 30.2562 | Cavity_No_insulation | Solid | Pitched | 103.5 | 2022-02-11 07:00 | 1.71 | 3.317 | 9.354 | 20.9 | 5.51 | 2.644
EOH0930 | 9.0105 | 9.8983 | 89.1891 | 0.27915 | 215.85 | 7.195 | 504.895 | 27.51 | 16.08 | 35.9 | -4.6 | 21 | 13 | 4 | 6 | 8 | 3 | 4 | 50,001+ | NE | Newcastle | North England | 3.44 | 8.7198 | Cavity_Insulated | Suspended | Pitched | 120 | 2022-01-06 04:00 | 0.12 | 0.94 | 2.391 | 22.23 | 2.55 | 0.525
EOH1876 | 5.7627 | 15.4517 | 89.0442 | 0.17768 | 106.5767 | 3.5526 | 692.085 | 29.33 | 16.32 | 35.9 | -4.6 | 19 | 14 | 4 | 7 | 10 | 3 | 4 | 40,001 - 50,000 | NE | Newcastle | North England | 3.42 | 3.4367 | Cavity_Insulated | Solid | Pitched | 137 | 2022-01-06 04:00 | 0.15 | 0.287 | 0.575 | 18.01 | 1.59 | 0.039
EOH2980 | 5.2202 | 16.6343 | 86.8335 | 0.47327 | 250.8642 | 8.3621 | 671.6542 | 26.56 | 14.31 | 30.68 | -3.7 | 20 | 10 | 3 | 5 | 5 | 4 | 7 | Prefer not to say | ML | Motherwell | Scotland | 19.1 | 10.4799 | Cavity_Insulated | Suspended | Pitched | 90.71 | 2022-02-11 07:58 | 0.09 | 2.755 | 5.109 | 20.31 | 5.02 | 0.011
EOH1415 | 5.236 | 16.5778 | 86.8011 | 0.23166 | 296.7067 | 9.8902 | 783.0633 | 29.23 | 14.61 | 35.9 | -4.6 | 20 | 12 | 2 | 3 | 6 | 1 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 17.97 | 20.6198 | Solid_No_insulation | Suspended | Pitched | 90 | 2022-01-06 04:00 | 0.06 | 1.992 | 3.376 | 15.96 | -0.81 | 0.961
EOH0276 | 6.7955 | 12.7703 | 86.7808 | 0.28647 | 249.6658 | 8.3222 | 604.2133 | 30.16 | 13.8 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 8 | 3 | 7 | 40,001 - 50,000 | NE | Newcastle | North England | 27.96 | 16.5544 | Cavity_Insulated | Solid | Pitched | 85 | 2022-01-06 04:00 | 1.44 | 1.53 | 3.9 | 19.15 | 0.21 | 1.025
EOH1725 | 8.0047 | 10.6723 | 85.4281 | 0.28312 | 462.2417 | 15.4081 | 712.2058 | 28.83 | 15.16 | 36.5 | -3.3 | 22 | 13 | 2 | 8 | 8 | 2 | 11 | Prefer not to say | SL | Slough | South England | 48.18 | 30.7149 | Cavity_Insulated | Solid | Pitched | 85 | 2021-11-28 08:00 | 2.22 | 3.92 | 8.257 | 22.25 | -1.28 | 2.709
EOH2716 | 1.6462 | 50.8293 | 83.6729 | 0.20596 | 245.6217 | 8.1874 | 877.7025 | 30.59 | 12.2 | 33.3 | -3.5 | 18 | 15 | 4 | 12 | 12 | 3 | 11.2 | 50,001+ | RH | Redhill | South England | 19.6 | 13.9187 | Cavity_Insulated | Solid | Pitched | 189.76 | 2022-01-06 06:00 | 0.09 | 3.301 | 8.117 | 16.91 | -2.05 | 2.45
EOH0065 | 5.1895 | 15.9946 | 83.0039 | 0.35209 | 192.5542 | 6.4185 | 637.3758 | 27.31 | 12.21 | 30.68 | -4.1 | 19 | 10 | 3 | 4 | 4 | 2 | 7 | 50,001+ | EH | Edinburgh | Scotland | 13.06 | 12.0043 | Cavity_Insulated | Solid | Pitched | 93.8 | 2022-02-11 08:00 | 1.56 | 1.864 | 4.756 | 18.61 | -3.29 | 1.566
EOH0021 | 5.5309 | 14.9287 | 82.5699 | 0.23938 | 266.3008 | 8.8767 | 749.5392 | 26.12 | 10.32 | 30.68 | -3.7 | 18 | 10 | 4 | 6 | 6 | 2 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 32.44 | 17.0172 | Cavity_Insulated | Suspended | Pitched | 119.98 | 2022-02-11 08:00 | 0.36 | 1.739 | 4.75 | 18.79 | -2.41 | 1.533
EOH0495 | 1.839 | 44.501 | 81.8357 | 0.29272 | 660.93 | 22.031 | 1802.67 | 27.02 | 15.02 | 29.57 | -3.9 | 21 | 13 | 3 | 5 | 5 | 5 | 12 | 50,001+ | FK | Falkirk | Scotland | 70.02 | 44.1114 | Cavity_No_insulation | Suspended | Pitched | 114.71 | 2021-12-05 21:00 | 5.52 | 5.525 | 13.315 | 21.32 | -2.42 | 0.012
EOH2448 | 4.919 | 16.5095 | 81.2097 | 0.4 | 393.895 | 13.1298 | 1139.8967 | 29.5 | 15.56 | 28.64 | -8.2 | 21 | 7 | 4 | 5 | 5 | 4 | 7 | 50,001+ | G | Glasgow | Scotland | 60.76 | 10.3867 | Cavity_Insulated | Suspended | Pitched | 94.68 | 2021-01-09 04:00 | 3.21 | 3.247 | 9.318 | 18.31 | 0.18 | 2.062
EOH2128 | 4.4751 | 18.031 | 80.6898 | 0.25895 | 361.1958 | 12.0399 | 866.6975 | 28.21 | 12.84 | 35.9 | -4.6 | 21 | 12 | 3 | 6 | 7 | 2 | 7 | 40,001 - 50,000 | NE | Newcastle | North England | 22.43 | 19.7201 | Cavity_Insulated | Suspended | Pitched | 76 | 2022-01-06 04:00 | 0.06 | 1.708 | 4.036 | 17.15 | 1.6 | 1.019
EOH0568 | 6.3987 | 12.5959 | 80.5967 | 0.26373 | 237.2925 | 7.9098 | 618.3042 | 25.46 | 12.35 | 30.68 | -3.7 | 19 | 15 | 2 | 4 | 4 | 2 | 5 | 25,001 - 30,000 | EH | Edinburgh | Scotland | 31.6 | 12.3439 | Cavity_Insulated | Suspended | Pitched | 74.88 | 2021-11-29 05:00 | 2.4 | 2.495 | 7.083 | 19.78 | 2.07 | 2.429
EOH0073 | 4.3095 | 18.6847 | 80.5214 | 0.27176 | 243.6067 | 8.1202 | 759.5217 | 28.91 | 14.81 | 37.54 | -3.3 | 19 | 15 | 3 | 7 | 7 | 2 | 8.5 | 30,001 - 40,000 | BN | Brighton | South England | 36.86 | 16.0459 | Cavity_Insulated | Solid | Pitched | 113 | 2022-01-06 07:00 | 3.18 | 3.076 | 7.874 | 16.25 | -0.73 | 0.443
EOH3177 | 5.0538 | 15.745 | 79.5714 | 0.31267 | 532.7383 | 17.7579 | 1397.8433 | 30.82 | 15.1 | 39.08 | -5.5 | 20 | 10 | 3 | 5 | 6 | 2 | 8.5 | Prefer not to say | RH | Redhill | South England | 41.74 | 34.5306 | Cavity_Insulated | Solid | Pitched | 130 | 2022-01-06 08:00 | 2.73 | 4.107 | 11.058 | 18.59 | -0.03 | 3.052
EOH2468 | 6.6956 | 11.8393 | 79.2714 | 0.37962 | 275.5842 | 9.1861 | 638.2292 | 25.14 | 16 | 35.9 | -4.6 | 19 | 10 | 3 | 6 | 6 | 2 | 7 | 50,001+ | NE | Newcastle | North England | 26.98 | 17.0895 | Cavity_Insulated | Suspended | Pitched | 87 | 2022-01-06 04:00 | 0.03 | 2.261 | 5.313 | 18.8 | -2.95 | 1.692
EOH2070 | 3.769 | 20.8537 | 78.5968 | 0.21011 | 119.0675 | 3.9689 | 864.9792 | 27.6 | 14.65 | 35.9 | -4.6 | 19 | 12 | 5 | 7 | 11 | 4 | 4 | 50,001+ | NE | Newcastle | North England | 3.3 | 4.7341 | Cavity_Insulated | Solid | Pitched | 143 | 2022-03-07 07:00 | 0.12 | 1.045 | 2.366 | 17.75 | -3.08 | 0.124
EOH0240 | 3.5844 | 21.8583 | 78.3477 | 0.23732 | 319.2617 | 10.6421 | 972.4592 | 29.9 | 13.45 | 35.9 | -4.6 | 21 | 13 | 3 | 6 | 9 | 2 | 7 | 50,001+ | DH | Durham | North England | 33.14 | 25.6898 | Solid_No_insulation | Suspended | Pitched | 97 | 2022-01-06 04:00 | 0.03 | 2.412 | 6.844 | 20.28 | 0.4 | 0.351
EOH2888 | 7.7382 | 10.0455 | 77.7343 | 0.38938 | 266.7908 | 8.893 | 732.4133 | 25.4 | 12.3 | 30.68 | -3.7 | 19 | 15 | 3 | 5 | 5 | 1 | 8.5 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 22.74 | 15.4094 | Cavity_Insulated | Solid | Pitched | 91.4 | 2022-02-11 08:00 | 1.11 | 2.207 | 4.17 | 18.14 | 4.37 | 0.918
EOH2484 | 11.8591 | 6.5474 | 77.6465 | 0.42059 | 217.9192 | 7.264 | 586.2292 | 28.75 | 13.81 | 28.4 | -11.9 | 21 | 8 | 1 | 2 | 2 | 1 | 5 | Prefer not to say | TD | Galashiels | Scotland | 25.09 | 4.5988 | Cavity_Insulated | Suspended | Pitched | 52.04 | 2021-02-11 07:00 | 1.32 | 1.974 | 4.005 | 21.56 | -6.2 | 1.236
EOH1048 | 1.6124 | 46.9927 | 75.7711 | 0.23694 | 404.9058 | 13.4969 | 1221.8058 | 27.37 | 14.94 | 29.03 | -4.31 | 21 | 11 | 3 | 5 | 5 | 3 | 7 | 40,001 - 50,000 | ML | Motherwell | Scotland | 34.3 | 24.7907 | Cavity_Insulated | Suspended | Pitched | 93.3 | 2022-03-31 06:00 | 1.65 | 3.345 | 9.666 | 20.07 | 3.78 | 2.359
EOH1953 | 8.5425 | 8.8463 | 75.5693 | 0.19467 | 99.5242 | 3.3175 | 218.995 | 24.3 | 15.78 | 35.9 | -4.6 | 18 | 13 | 4 | 6 | 4 | 4 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 2.91 | 1.6775 | Cavity_Insulated | Suspended | Pitched | 136 | 2021-10-16 03:00 | 1.08 | 0.942 | 2.474 | 17.9 | 0.34 | 0.942
EOH1400 | 3.9615 | 19.0322 | 75.397 | 0.35403 | 375.2633 | 12.5088 | 1298.8358 | 29.96 | 10.49 | 25.5 | -4.2 | 22 | 10 | 2 | 5 | 5 | 2 | 11 | 30,001 - 40,000 | TN | Tonbridge | South England | 49.91 | 5.3039 | Solid_Insulated | Suspended | Pitched | 83.42 | 2021-02-13 07:58 | 3.63 | 3.555 | 8.54 | 18.68 | -3.18 | 3.01
EOH3095 | 1.8039 | 41.5969 | 75.0381 | 0.27705 | 514.3 | 17.1433 | 2474.3358 | 23.72 | 15.66 | 30.68 | -4.1 | 19 | 15 | 3 | 5 | 5 | 4 | 12 | 50,001+ | EH | Edinburgh | Scotland | 53.11 | 30.4523 | Cavity_Insulated | Solid | Pitched | 121.15 | 2022-02-11 08:00 | 0.03 | 5.294 | 12.558 | 18.48 | -3.28 | 4.869
EOH1019 | 9.712 | 7.6745 | 74.5348 | 0.28272 | 56.8192 | 1.894 | 160.7592 | 26.32 | 9.26 | 35.9 | -4.6 | 16 | 12 | 3 | 4 | 12 | 2 | 4 | 20,001 - 25,000 | NE | Newcastle | North England | 4.52 | 3.6755 | Cavity_No_insulation | Mix | Pitched | 105 | 2022-01-06 04:00 | 0.06 | 0.507 | 1.225 | 15.63 | 0.69 | 0.348
EOH2011 | 6.0825 | 12.0617 | 73.3656 | 0.31791 | 279.7275 | 9.3243 | 852.3117 | 27.12 | 16.75 | 30.68 | -3.7 | 20 | 15 | 3 | 4 | 4 | 1 | 7 | 50,001+ | EH | Edinburgh | Scotland | 30.97 | 18.5624 | Cavity_Insulated | Suspended | Pitched | 82.63 | 2022-02-11 08:00 | 3.39 | 2.868 | 7.043 | 19.06 | -2.41 | 1.615
EOH2049 | 3.5549 | 20.3222 | 72.2441 | 0.30901 | 481.6517 | 16.0551 | 1092.3342 | 27.43 | 14.68 | 35.9 | -8.2 | 20 | 5 | 3 | 7 | 9 | 4 | 11 | 30,001 - 40,000 | NE | Newcastle | North England | 51.67 | 11.8162 | Cavity_No_insulation | Solid | Pitched | 78.23 | 2021-02-11 06:00 | 2.4 | 4.316 | 9.422 | 20.31 | -5.01 | 1.1
EOH2799 | 5.0022 | 14.4321 | 72.1929 | 0.31645 | 317.4925 | 10.5831 | 959.1642 | 25.31 | 16.5 | 31.3 | -11.8 | 19 | 6 | 2 | 4 | 4 | 3 | 8.5 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 34.35 | 7.3064 | Cavity_Insulated | Suspended | Pitched | 75.8 | 2021-01-09 08:00 | 2.22 | 2.816 | 6.747 | 18.93 | -9.69 | 2.315
EOH3003 | 3.6198 | 19.813 | 71.7187 | 0.31053 | 552.9733 | 18.4324 | 1834.6083 | 24.07 | 9.99 | 29.57 | -3.9 | 20 | 14 | 5 | 8 | 8 | 4 | 12 | Prefer not to say | PH | Perth | Scotland | 57.42 | 36.3688 | Cavity_Insulated | Suspended | Pitched | 171.54 | 2021-12-05 21:00 | 4.74 | 4.449 | 8.902 | 19.43 | -3.83 | 0.008
EOH0603 | 4.1196 | 17.3066 | 71.2966 | 0.25121 | 410.0733 | 13.6691 | 1342.6675 | 25.37 | 10.04 | 30.68 | -4.1 | 19 | 10 | 2 | 4 | 4 | 2 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 34.72 | 26.4801 | Cavity_No_insulation | Suspended | Pitched | 100.12 | 2022-02-11 08:00 | 3.63 | 3.569 | 8.585 | 18.68 | 4.31 | 2.014
EOH2504 | 2.0665 | 34.2236 | 70.7226 | 0.22789 | 262.7383 | 8.7579 | 662.7267 | 30.88 | 13.72 | 40.2 | -3.3 | 18 | 10 | 5 | 7 | 7 | 3 | 14 | 50,001+ | KT | Kingston upon Thames | South England | 26.35 | 3.5354 | Cavity_No_insulation | Mix | Pitched | 139.24 | 2022-01-18 05:00 | 0.12 | 4.052 | 7.734 | 16.64 | 1.83 | 0.844
EOH2329 | 7.9648 | 8.8173 | 70.2282 | 0.38428 | 163.2942 | 5.4431 | 379.9608 | 23.93 | 11.12 | 30.68 | -12.6 | 18 | 8 | 3 | 5 | 5 | 2 | 8.5 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 20.44 | 4.1659 | Cavity_Insulated | Suspended | Pitched | 109.54 | 2021-02-11 06:00 | 0.03 | 2.738 | 7.008 | 18.31 | -7.16 | 1.63
EOH1003 | 4.6076 | 15.2052 | 70.0602 | 0.30792 | 316.4733 | 10.5491 | 978.06 | 26.31 | 15 | 30.68 | -4.1 | 18 | 15 | 3 | 5 | 5 | 4 | 7 | Prefer not to say | EH | Edinburgh | Scotland | 37.86 | 21.6936 | Cavity_Insulated | Suspended | Pitched | 134.41 | 2022-02-11 08:00 | 1.29 | 2.821 | 7.201 | 18 | -2.81 | 2.071
EOH2325 | 4.5075 | 15.513 | 69.9247 | 0.22533 | 184.06 | 6.1353 | 536.125 | 23.81 | 9.56 | 30.68 | -4.9 | 16 | 10 | 4 | 7 | 7 | 3 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 26.98 | 3.0908 | Cavity_Insulated | Solid | Pitched | 178.41 | 2021-02-11 23:00 | 3.3 | 3.287 | 8.796 | 12.31 | -4.26 | 1.243
EOH2436 | 1.5261 | 45.2993 | 69.1309 | 0.23648 | 457.6367 | 15.2546 | 1573.8925 | 29.63 | 12.49 | 28.4 | -4.2 | 18 | 8 | 4 | 7 | 6 | 3 | 12 | 40,001 - 50,000 | TD | Galashiels | Scotland | 48.37 | 26.2222 | Cavity_Insulated | Suspended | Pitched | 144.62 | 2022-02-11 08:00 | 2.34 | 4.264 | 8.605 | 17.01 | -3.68 | 1.909
EOH0079 | 2.0503 | 33.6197 | 68.929 | 0.26673 | 232.3283 | 7.7443 | 860.735 | 27.23 | 14.42 | 30.68 | -3.7 | 18 | 10 | 3 | 4 | 4 | 3 | 8 | 50,001+ | EH | Edinburgh | Scotland | 22.49 | 14.7717 | Cavity_Insulated | Suspended | Pitched | 109.82 | 2022-02-11 08:00 | 2.67 | 2.818 | 6.266 | 17.72 | 3.67 | 1.296
EOH2052 | 4.9393 | 13.7893 | 68.1094 | 0.19648 | 272.6283 | 9.0876 | 744.4967 | 30.03 | 13.03 | 30.68 | -3.7 | 18 | 10 | 4 | 6 | 6 | 3 | 7 | 20,001 - 25,000 | EH | Edinburgh | Scotland | 27.75 | 15.9561 | Cavity_Insulated | Suspended | Pitched | 167.7 | 2022-02-11 08:00 | 2.61 | 3.063 | 8.492 | 16.2 | 3.96 | 1.728
EOH1566 | 7.5022 | 9.067 | 68.0219 | 0.2012 | 159.655 | 5.3218 | 439.6808 | 28.02 | 15.95 | 35.9 | -4.6 | 20 | 13 | 3 | 5 | 8 | 1 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 3.05 | 1.9512 | Solid_No_insulation | Mix | Pitched | 92 | 2022-03-07 07:00 | 0.06 | 1.523 | 2.355 | 19.99 | 6.02 | 1.089
EOH0047 | 2.2161 | 30.6768 | 67.982 | 0.255 | 614.5808 | 20.486 | 1697.7858 | 28.05 | 8.83 | 35.9 | -4.6 | 19 | 10 | 3 | 8 | 10 | 3 | 7 | 50,001+ | DH | Durham | North England | 60.41 | 38.0619 | Cavity_Insulated | Suspended | Pitched | 164 | 2022-01-06 04:00 | 3.06 | 3.333 | 9.785 | 19.15 | 0.31 | 2.948
EOH0121 | 5.4798 | 12.1759 | 66.722 | 0.21744 | 241.4575 | 8.0486 | 639.0675 | 27.85 | 14.7 | 33.3 | -3.5 | 20 | 10 | 3 | 8 | 8 | 2 | 11.2 | Prefer not to say | RH | Redhill | South England | 19.6 | 13.4486 | Cavity_Insulated | Mix | Pitched | 133 | 2022-01-06 06:00 | 0.03 | 3.719 | 6.208 | 18.78 | 7.4 | 1.75
EOH1660 | 5.4096 | 12.2824 | 66.4433 | 0.27375 | 379.1692 | 12.639 | 1264.71 | 25.22 | 17.89 | 30.66 | -4.2 | 20 | 15 | 4 | 6 | 5 | 5 | 8.5 | 40,001 - 50,000 | KY | Kirkcaldy | Scotland | 37.48 | 23.3611 | Cavity_Insulated | Suspended | Pitched | 155.41 | 2022-02-11 07:00 | 1.53 | 2.782 | 5.947 | 19.08 | 3.6 | 0.866
EOH0470 | 1.493 | 43.5916 | 65.0821 | 0.20595 | 269.2792 | 8.976 | 949.7675 | 31.21 | 13.45 | 32.5 | -5.9 | 17 | 9 | 3 | 5 | 5 | 4 | 11.2 | 50,001+ | GU | Guildford | South England | 31.29 | 17.8279 | Solid_No_insulation | Suspended | Pitched | 126.63 | 2022-01-06 08:00 | 1.17 | 4.235 | 9.147 | 15.23 | 1.45 | 2.55
EOH2149 | 2.6965 | 23.9636 | 64.6188 | 0.36591 | 170.1525 | 5.6718 | 509.965 | 29.43 | 12.63 | 31.3 | -7.2 | 22 | 12 | 3 | 4 | 4 | 2 | 5 | Prefer not to say | TD | Galashiels | Scotland | 2.83 | 9.693 | Cavity_No_insulation | Solid | Pitched | 71.82 | 2022-01-06 00:58 | 0.03 | 1.927 | 4.019 | 20.9 | -2.05 | 0.959
EOH2005 | 9.6207 | 6.6975 | 64.4348 | 0.43781 | 138.5433 | 4.6181 | 321.6725 | 25.65 | 10.25 | 26.8 | -4.6 | 16 | 7 | 3 | 5 | 6 | 3 | 4 | 50,001+ | NE | Newcastle | North England | 6.26 | 6.3098 | Cavity_Insulated | Suspended | Pitched | 104 | 2022-01-06 04:00 | 0.06 | 0.855 | 1.269 | 14.91 | 0.77 | 0.642
EOH2868 | 4.0211 | 15.9262 | 64.0404 | 0.3574 | 446.0017 | 14.8667 | 1353.6342 | 28.53 | 14.2 | 35.9 | -4.6 | 21 | 13 | 5 | 10 | 10 | 5 | 12 | 50,001+ | NE | Newcastle | North England | 45.06 | 28.8815 | Cavity_Insulated | Solid | Pitched | 200 | 2022-01-06 04:00 | 5.49 | 3.891 | 9.931 | 20.23 | -4.25 | 2.529
EOH2361 | 2.1661 | 29.5405 | 63.9877 | 0.22183 | 480.8058 | 16.0269 | 1710.0025 | 24.84 | 15.08 | 30.68 | -3.7 | 18 | 10 | 4 | 6 | 6 | 5 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 42.38 | 22.8627 | Cavity_Insulated | Suspended | Pitched | 153.32 | 2022-02-11 07:58 | 4.2 | 4.981 | 10.316 | 16.18 | -3.69 | 0
EOH2682 | 4.7531 | 13.4471 | 63.916 | 0.39655 | 324.75 | 10.825 | 1001.3392 | 31.27 | 9.41 | 36.5 | -3.3 | 20 | 14 | 3 | 6 | 6 | 2 | 8.5 | 50,001+ | KT | Kingston upon Thames | South England | 41.67 | 21.5734 | Solid_Insulated | Suspended | Pitched | 77.98 | 2022-01-21 08:00 | 2.85 | 2.846 | 7.785 | 17.95 | 0.27 | 2.599
EOH2252 | 4.1255 | 15.4252 | 63.6368 | 0.29719 | 451.4133 | 15.0471 | 1345.0242 | 30.64 | 12.11 | 36.5 | -3.3 | 18 | 10 | 2 | 4 | 4 | 3 | 6 | 50,001+ | CR | Croydon | South England | 46.8 | 30.4305 | Cavity_No_insulation | Solid | Pitched | 60 | 2022-01-21 08:00 | 1.83 | 2.265 | 5.821 | 17.26 | -0.18 | 1.94
EOH0668 | 1.7824 | 35.673 | 63.5848 | 0.19857 | 308.5608 | 10.2854 | 1069.6908 | 25.82 | 12.58 | 30.68 | -3.7 | 20 | 15 | 4 | 7 | 7 | 5 | 12 | 50,001+ | EH | Edinburgh | Scotland | 27.16 | 17.5451 | Cavity_Insulated | Suspended | Pitched | 134.6 | 2022-02-11 08:00 | 2.1 | 3.813 | 8.307 | 15.88 | -2 | 1.749
EOH0333 | 6.8264 | 9.3141 | 63.5816 | 0.36684 | 152.3242 | 5.0775 | 316.8833 | 30.3 | 15.87 | 36.5 | -3.3 | 25 | 8 | 1 | 2 | 3 | 2 | 3 | Prefer not to say | KT | Kingston upon Thames | South England | 16.42 | 7.8795 | Cavity_Insulated | Suspended | Pitched | 46 | 2022-01-21 08:00 | 0.03 | 1.286 | 3.887 | 17.37 | 2.94 | 1.104
EOH1041 | 3.0835 | 20.5944 | 63.5032 | 0.26014 | 265.9542 | 8.8651 | 773.36 | 29.77 | 11.33 | 35.9 | -4.6 | 19 | 13 | 3 | 4 | 8 | 2 | 7 | 50,001+ | NE | Newcastle | North England | 25.9 | 17.2056 | Cavity_Insulated | Suspended | Pitched | 80 | 2022-01-06 04:00 | 0.93 | 3.163 | 6.755 | 18.81 | 0.23 | 2.213
EOH2359 | 7.906 | 8.015 | 63.3669 | 0.36498 | 213.1783 | 7.1059 | 694.0433 | 28.24 | 14.7 | 28.4 | -4.1 | 20 | 14 | 1 | 2 | 2 | 2 | 5 | Prefer not to say | TD | Galashiels | Scotland | 17.28 | 5.0394 | Cavity_Insulated | Suspended | Pitched | 46.58 | 2022-02-11 08:00 | 0.57 | 1.331 | 3.192 | 19.49 | -3.35 | 1.244
EOH0026 | 4.0414 | 15.616 | 63.1107 | 0.27728 | 462.1942 | 15.4065 | 1250.2492 | 26.2 | 9.81 | 35.9 | -4.6 | 19 | 12 | 3 | 4 | 9 | 2 | 7 | 40,001 - 50,000 | NE | Newcastle | North England | 45.85 | 28.6114 | Cavity_Insulated | Suspended | Pitched | 87 | 2022-01-06 04:00 | 2.01 | 2.721 | 6.475 | 17.96 | -1.35 | 2.285
EOH2508 | 4.6087 | 13.5684 | 62.5326 | 0.28903 | 405.3758 | 13.5125 | 1068.6667 | 27.57 | 16.41 | 35.9 | -4.6 | 21 | 12 | 3 | 5 | 8 | 3 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 30.71 | 24.4001 | Cavity_Insulated | Suspended | Pitched | 86 | 2022-01-06 04:00 | 1.5 | 3.636 | 6.073 | 18.62 | -4.2 | 2.812
EOH0979 | 1.808 | 34.5473 | 62.4627 | 0.22534 | 235.77 | 7.859 | 679.1183 | 29.77 | 15.67 | 33.3 | -3.5 | 18 | 15 | 3 | 7 | 7 | 4 | 7 | 40,001 - 50,000 | BN | Brighton | South England | 27.82 | 13.6491 | Cavity_Insulated | Solid | Pitched | 62.5 | 2022-01-06 06:00 | 1.14 | 2.592 | 5.392 | 16.96 | 5.85 | 0.74
EOH2613 | 1.3564 | 45.6239 | 61.8838 | 0.29345 | 173.0767 | 5.7692 | 512.71 | 28.31 | 13.18 | 30.68 | -12.6 | 20 | 15 | 3 | 4 | 4 | 3 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 16.21 | 3.6618 | Cavity_Insulated | Suspended | Pitched | 95.04 | 2021-02-11 06:00 | 0.72 | 3.786 | 6.274 | 18.37 | -9.36 | 0.023
EOH3186 | 2.8364 | 21.8068 | 61.853 | 0.21778 | 743.0908 | 24.7697 | 2375.0033 | 24.47 | 17.45 | 30.66 | -4.2 | 21 | 10 |  | 6 | 6 | 2 | 14 | 25,001 - 30,000 | KY | Kirkcaldy | Scotland | 65.34 | 42.9194 | Cavity_Insulated | Suspended | Pitched | 173.48 | 2022-02-11 07:02 | 0.03 | 5.707 | 15.856 | 20.23 | 1.35 | 4.291
EOH0119 | 4.4829 | 13.6991 | 61.411 | 0.45809 | 238.76 | 7.9587 | 634.3675 | 27.59 | 12.24 | 28.4 | -4.1 | 17 | 8 | 3 | 5 | 5 | 0 | 5 | 12,501 - 16,200 | TD | Galashiels | Scotland | 24.18 | 13.7377 | Cavity_No_insulation | Solid | Pitched | 78.43 | 2022-02-11 08:00 | 2.13 | 1.941 | 4.806 | 15.1 | -1.1 | 0.923
EOH0578 | 10.386 | 5.82 | 60.4463 | 0.30207 | 143.2725 | 4.7758 | 377.595 | 28.82 | 15.6 | 35.9 | -4.6 | 21 | 12 | 5 | 8 | 11 | 4 | 4 | 50,001+ | NE | Newcastle | North England | 4.63 | 8.868 | Cavity_Insulated | Solid | Pitched | 124 | 2022-01-06 04:00 | 0.06 | 0.833 | 2.002 | 20.88 | 0.87 | 0.818
EOH0953 | 4.8744 | 12.2562 | 59.7411 | 0.40143 | 347.5 | 11.5833 | 929.8425 | 25.25 | 14.06 | 28.64 | -4 | 19 | 8 | 3 | 4 | 4 | 4 | 7 | 0 - 12,500 | G | Glasgow | Scotland | 27.03 | 20.0034 | Cavity_No_insulation | Solid | Pitched | 86.4 | 2022-02-11 06:02 | 0.03 | 2.692 | 5.762 | 18.81 | -0.81 | 2.186
EOH0491 | 7.8759 | 7.5825 | 59.7191 | 0.38205 | 279.8117 | 9.3271 | 731.0442 | 24.62 | 0.1856 | 35.9 | -8.2 | 20 | 5 | 4 | 6 | 11 | 2 | 4 | 50,001+ | NE | Newcastle | North England | 9.77 | 5.4861 | Solid_No_insulation | Suspended | Pitched | 125 | 2021-02-11 06:00 | 0.09 | 0.953 | 2.129 | 20.12 | -5.26 | 0.953
EOH3016 | 3.0669 | 19.0347 | 58.3781 | 0.29154 | 457.7483 | 15.2583 | 1147.5817 | 25.06 | 12.93 | 28.4 | -4.2 | 20 | 8 | 4 | 6 | 6 | 4 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 44.28 | 7.2207 | Cavity_Insulated | Solid | Pitched | 149.64 | 2022-02-11 08:00 | 5.4 | 5.402 | 11.378 | 19.25 | -2.41 | 3.235
EOH1242 | 6.143 | 9.4608 | 58.1176 | 0.24883 | 219.7358 | 7.3245 | 635.4167 | 26.5 | 14 | 30.66 | -4.2 | 18 | 15 | 3 | 4 | 4 | 3 | 7 | Prefer not to say | KY | Kirkcaldy | Scotland | 26.02 | 16.6899 | Cavity_Insulated | Suspended | Pitched | 75.2 | 2022-02-11 07:00 | 0.03 | 3.296 | 7.931 | 17.06 | 0.48 | 0.015
EOH0234 | 6.3579 | 9.1116 | 57.9308 | 0.22078 | 200.5542 | 6.6851 | 476.3333 | 26.68 | 14.06 | 33.3 | -3.5 | 19 | 16 | 2 | 5 | 4 | 2 | 6 | 20,001 - 25,000 | BN | Brighton | South England | 18.76 | 14.3089 | Cavity_Insulated | Solid | Pitched | 82.2 | 2022-01-06 06:00 | 1.74 | 2.347 | 6.819 | 18.7 | -2.83 | 2.096
EOH1183 | 4.715 | 12.2577 | 57.7955 | 0.36709 | 225.4742 | 7.5158 | 399.2492 | 28.1 | 7.26 | 28.4 | -4.1 | 12 | 8 | 2 | 3 | 3 | 2 | 5 | 20,001 - 25,000 | TD | Galashiels | Scotland | 8.47 | 6.9916 | Cavity_Insulated | Suspended | Another Dwelling Above | 56.44 | 2022-02-11 08:00 | 0.06 | 2.283 | 3.432 | 10.01 | 4.89 | 0.008
EOH2398 | 7.7603 | 7.389 | 57.3408 | 0.43445 | 152.8392 | 5.0946 | 382.0833 | 27.26 | 10.84 | 28.4 | -4.1 | 20 | 13 | 2 | 3 | 3 | 2 | 5 | Prefer not to say | TD | Galashiels | Scotland | 3.47 | 7.6529 | Cavity_Insulated | Suspended | Pitched | 63.82 | 2022-01-06 03:00 | 0.12 | 1.795 | 4.535 | 20.53 | 2.88 | 1.202
EOH1114 | 1.8209 | 31.2329 | 56.873 | 0.22803 | 325.765 | 10.8588 | 1097.325 | 23.39 | 13.4 | 30.68 | -3.7 | 17 | 15 | 4 | 6 | 6 | 3 | 12 | 50,001+ | EH | Edinburgh | Scotland | 28.97 | 20.0551 | Cavity_Insulated | Suspended | Pitched | 129.09 | 2022-02-11 08:00 | 2.43 | 3.435 | 8.074 | 16.72 | 2.42 | 2.076
EOH0859 | 3.179 | 17.8824 | 56.848 | 0.29649 | 349.9342 | 11.6645 | 909.7742 | 33.73 | 15.03 | 40.2 | -3.3 | 20 | 10 | 3 | 5 | 5 | 2 | 8.5 | 50,001+ | TW | Twickenham | South England | 38.02 | 11.3935 | Cavity_Insulated | Suspended | Pitched | 127 | 2021-11-29 03:00 | 2.31 | 2.283 | 6.451 | 17.46 | 1.21 | 2.119
EOH1662 | 7.4234 | 7.6555 | 56.8302 | 0.20616 | 99.6117 | 3.3204 | 317.7633 | 28.23 | 12.45 | 35.9 | -4.6 | 19 | 12 | 3 | 5 | 10 | 1 | 4 | 12,501 - 16,200 | NE | Newcastle | North England | 2.09 | 5.1927 | Cavity_Insulated | Suspended | Pitched | 90 | 2022-01-06 04:00 | 0.06 | 0.091 | 0.236 | 18.16 | 2.23 | 0.019
EOH0257 | 8.8823 | 6.376 | 56.6332 | 0.35399 | 272.5092 | 9.0836 | 469.8942 | 27.68 | 13.62 | 35.9 | -4.6 | 21 | 13 | 3 | 4 | 4 | 2 | 7 | 16,201 - 20,000 | NE | Newcastle | North England | 20.25 | 16.28 | Cavity_Insulated | Suspended | Pitched | 68 | 2022-01-06 04:00 | 0.84 | 1.683 | 3.746 | 20.18 | -0.51 | 1.055
EOH3176 | 10.3509 | 5.4564 | 56.4787 | 0.43283 | 159.3667 | 5.3122 | 374.9133 | 28.24 | 11.01 | 35.9 | -4.6 | 19 | 13 | 3 | 5 | 9 | 4 | 4 | 50,001+ | NE | Newcastle | North England | 3.16 | 8.3298 | Cavity_Insulated | Suspended | Pitched | 110 | 2022-01-06 04:00 | 0.15 | 0.795 | 1.569 | 19.27 | 1.57 | 0.03
EOH2166 | 3.9359 | 14.3444 | 56.4579 | 0.27052 | 223.4658 | 7.4489 | 559.7733 | 31.45 | 13.92 | 39.08 | -5.5 | 21 | 10 | 2 | 4 | 4 | 2 | 7 | 50,001+ | RH | Redhill | South England | 20.66 | 13.0477 | Cavity_Insulated | Solid | Pitched | 55 | 2022-01-06 08:00 | 0.42 | 2.079 | 3.605 | 19.55 | 0.93 | 0.706
EOH0494 | 5.5461 | 10.1437 | 56.2584 | 0.30116 | 299.2725 | 9.9757 | 789.9425 | 30.52 | 11.86 | 35.9 | -4.6 | 21 | 12 | 3 | 5 | 7 | 4 | 7 | 50,001+ | NE | Newcastle | North England | 26.09 | 17.7228 | Cavity_Insulated | Solid | Pitched | 80 | 2022-01-06 04:00 | 0.03 | 3.823 | 6.74 | 21.16 | 2.1 | 1.421
EOH0172 | 2.742 | 20.4741 | 56.1394 | 0.44193 | 448.6225 | 14.9541 | 1344.2858 | 30.69 | 13.72 | 28.4 | -4.1 | 20 | 10 | 4 | 6 | 6 | 4 | 12 | 50,001+ | EH | Edinburgh | Scotland | 46.81 | 27.9302 | Cavity_Insulated | Solid | Pitched | 166.26 | 2022-02-11 07:58 | 0.03 | 4.387 | 9.379 | 24.52 | 4.13 | 2.443
EOH0067 | 5.8308 | 9.6215 | 56.1011 | 0.45927 | 221.3275 | 7.3776 | 641.1192 | 27.87 | 7.12 | 31.3 | -7.4 | 20 | 8 | 3 | 4 | 4 | 5 | 8.5 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 21.56 | 4.1648 | Cavity_Insulated | Solid | Pitched | 92.28 | 2022-01-06 01:00 | 1.56 | 2.616 | 5.67 | 19 | -4.95 | 2.022
EOH2689 | 2.1718 | 25.684 | 55.7795 | 0.28231 | 441.6992 | 14.7233 | 1260.3975 | 29.59 | 16.02 | 35.9 | -4.6 | 20 | 13 | 3 | 5 | 9 | 3 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 47.01 | 27.0846 | Cavity_Insulated | Suspended | Pitched | 128 | 2022-01-06 04:00 | 0.06 | 3.842 | 8.44 | 19.58 | 0.21 | 2.59
EOH1700 | 2.1119 | 26.4079 | 55.7708 | 0.31186 | 287.9717 | 9.5991 | 757.8267 | 27.62 | 10.87 | 30.68 | -12.6 | 18 | 15 | 2 | 4 | 4 | 3 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 22.56 | 6.8487 | Cavity_Insulated | Suspended | Pitched | 82.96 | 2022-02-11 08:00 | 1.56 | 3.218 | 7.805 | 16.31 | -2.59 | 1.879
EOH2007 | 4.6041 | 12.1089 | 55.7506 | 0.35071 | 210.9617 | 7.0321 | 697.2467 | 24.3 | 13.29 | 30.68 | -3.7 | 18 | 10 | 3 | 5 | 5 | 2 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 20.59 | 12.0424 | Cavity_Insulated | Suspended | Pitched | 96.44 | 2022-02-11 08:00 | 1.41 | 1.763 | 4.337 | 16.47 | -0.97 | 0.879
EOH1042 | 1.9855 | 28.0007 | 55.5963 | 0.31144 | 431.9575 | 14.3986 | 1425.7883 | 24.62 | 13.46 | 30.68 | -4.1 | 18 | 15 | 3 | 5 | 5 | 2 | 7 | 50,001+ | EH | Edinburgh | Scotland | 38.57 | 20.3293 | Cavity_Insulated | Suspended | Pitched | 89.32 | 2022-02-11 08:00 | 3.3 | 2.869 | 6.481 | 16.39 | -3.31 | 2.869
EOH0245 | 8.4156 | 6.5259 | 54.9196 | 0.22447 | 84.02 | 2.8007 | 259.8333 | 28.95 | 13.66 | 35.9 | -4.6 | 17 | 12 | 3 | 5 | 9 | 2 | 4 | 50,001+ | NE | Newcastle | North England | 2.68 | 4.3727 | Cavity_Insulated | Suspended | Pitched | 86 | 2022-01-06 04:00 | 1.02 | 0.767 | 2.082 | 16.59 | 0.21 | 0.437
EOH0559 | 3.745 | 14.6378 | 54.8182 | 0.2714 | 156.0633 | 5.2021 | 372.2042 | 30.19 | 13.54 | 28.64 | -4 | 22 | 14 | 2 | 3 | 3 | 2 | 5 | 50,001+ | G | Glasgow | Scotland | 11.37 | 2.1405 | Cavity_Insulated | Suspended | Pitched | 68.76 | 2022-02-11 06:00 | 0.15 | 1.915 | 4.797 | 21.39 | -0.75 | 1.112
EOH1327 | 2.4021 | 22.7627 | 54.6785 | 0.32782 | 247.64 | 8.2547 | 644.8992 | 26.56 | 12.37 | 30.68 | -4.1 | 18 | 8 | 3 | 5 | 5 | 4 | 7 | 50,001+ | EH | Edinburgh | Scotland | 22.98 | 14.4511 | Cavity_No_insulation | Solid | Pitched | 105.26 | 2022-02-11 08:00 | 3.09 | 2.886 | 6.954 | 17.37 | 1.24 | 2.611
EOH1671 | 8.6162 | 6.3304 | 54.5439 | 0.29271 | 123.0283 | 4.1009 | 327.2925 | 29.98 | 15.85 | 28.4 | -4.2 | 21 | 9 | 1 | 2 | 2 | 2 | 5 | Prefer not to say | TD | Galashiels | Scotland | 11.65 | 7.0185 | Cavity_No_insulation | Suspended | Pitched | 47.73 | 2022-02-11 08:00 | 1.08 | 1.451 | 3.248 | 19.69 | -1.45 | 0.813
EOH2892 | 8.2453 | 6.5508 | 54.0136 | 0.21706 | 141.3475 | 4.7116 | 343.9967 | 29.36 | 15.15 | 35.9 | -4.6 | 19 | 12 | 3 | 6 | 10 | 1 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 3.12 | 7.693 | Cavity_No_insulation | Suspended | Pitched | 116 | 2022-01-06 04:00 | 0.15 | 0.778 | 2.05 | 18.81 | 1.92 | 0.075
EOH1328 | 2.4014 | 22.4204 | 53.8415 | 0.30981 | 476.7467 | 15.8916 | 1117.7658 | 25.55 | 13.63 | 30.68 | -3.7 | 19 | 15 | 4 | 7 | 7 | 6 | 12 | 50,001+ | EH | Edinburgh | Scotland | 38.93 | 25.5533 | Cavity_Insulated | Suspended | Pitched | 145.94 | 2022-02-11 08:00 | 0.09 | 5.366 | 13.94 | 17.46 | -3.48 | 0.146
EOH1947 | 1.8881 | 28.3856 | 53.5946 | 0.27643 | 315.2983 | 10.5099 | 799.99 | 25.94 | 14.64 | 35.9 | -4.6 | 21 | 13 | 2 | 4 | 5 | 3 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 25.9 | 18.6527 | Cavity_Insulated | Solid | Pitched | 65 | 2022-01-06 04:00 | 1.05 | 2.525 | 6.618 | 19.89 | 0.31 | 1.881
EOH2630 | 4.804 | 11.0514 | 53.0911 | 0.32756 | 414.7733 | 13.8258 | 1370.6075 | 25.31 | 15.18 | 30.68 | -3.7 | 20 | 15 | 4 | 8 | 8 | 4 | 11.2 | 50,001+ | EH | Edinburgh | Scotland | 31.58 | 20.7226 | Cavity_Insulated | Suspended | Pitched | 154.29 | 2021-11-29 05:00 | 2.07 | 3.842 | 7.839 | 17.85 | 0.09 | 2.074
EOH0732 | 1.9443 | 27.1852 | 52.8568 | 0.28943 | 312.7983 | 10.4266 | 1012.735 | 24.38 | 13.68 | 30.68 | -3.7 | 19 | 15 | 4 | 6 | 6 | 2 | 12 | 50,001+ | EH | Edinburgh | Scotland | 31 | 20.5049 | Cavity_Insulated | Suspended | Pitched | 130.47 | 2022-02-11 08:00 | 1.83 | 3.248 | 6.882 | 15.53 | -3.28 | 2.781
EOH0922 | 3.4525 | 15.3006 | 52.825 | 0.2744 | 322.6542 | 10.7551 | 977.5058 | 26.96 | 14.79 | 30.68 | -3.7 | 19 | 15 | 3 | 5 | 5 | 4 | 7 | Prefer not to say | EH | Edinburgh | Scotland | 33.12 | 22.0479 | Cavity_Insulated | Suspended | Pitched | 92.84 | 2022-02-11 08:00 | 3.09 | 2.954 | 8.107 | 17.05 | -2.74 | 2.09
EOH0490 | 1.7953 | 29.3404 | 52.6763 | 0.24872 | 730.3417 | 24.3447 | 2201.065 | 25.8 | 8.56 | 30.68 | -3.7 | 21 | 12 | 3 | 5 | 5 | 2 | 12 | Prefer not to say | EH | Edinburgh | Scotland | 53.3 | 19.0023 | Cavity_Insulated | Suspended | Pitched | 128.9 | 2021-11-29 05:00 | 0.03 | 4.878 | 14.695 | 15.18 | 9.8 | 3.424
EOH0530 | 2.6009 | 20.1919 | 52.5178 | 0.31532 | 507.3992 | 16.9133 | 1874.2467 | 25.06 | 14.81 | 28.4 | -11.9 | 21 | 14 | 4 | 7 | 7 | 4 | 8.5 | 40,001 - 50,000 | TD | Galashiels | Scotland | 53.33 | 10.6813 | Cavity_Insulated | Suspended | Pitched | 186.41 | 2021-02-11 07:00 | 3.21 | 3.267 | 9.208 | 18.81 | -4.75 | 0.002
EOH0609 | 7.5058 | 6.8995 | 51.7864 | 0.2279 | 92.7933 | 3.0931 | 550.0183 | 29.97 | 13.4 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 7 | 2 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 3 | 3.0466 | Cavity_Insulated | Suspended | Pitched | 85 | 2022-03-31 06:02 | 0.06 | 0.836 | 1.109 | 18.4 | 2.53 | 0.01
EOH2584 | 8.4079 | 6.1494 | 51.7037 | 0.34337 | 136.9133 | 4.5638 | 320.6425 | 30.25 | 12.12 | 28.4 | -11.9 | 18 | 8 | 1 | 2 | 2 | 1 | 5 | Prefer not to say | TD | Galashiels | Scotland | 14.85 | 2.0941 | Cavity_No_insulation | Suspended | Pitched | 46.84 | 2021-02-11 07:00 | 1.8 | 1.94 | 5.056 | 18.68 | -7.67 | 1.339
EOH0570 | 9.5477 | 5.4004 | 51.5619 | 0.35122 | 64.4583 | 2.1486 | 121.2267 | 26.08 | 14.47 | 35.9 | -4.6 | 19 | 10 | 3 | 6 | 7 | 3 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 1.47 | 1.1949 | Cavity_Insulated | Solid | Pitched | 95 | 2022-01-06 03:58 | 0.06 | 0.137 | 0.407 | 18.19 | 2.48 | 0.049
EOH2232 | 2.8715 | 17.7432 | 50.9501 | 0.31461 | 445.4283 | 14.8476 | 1179.8375 | 29.98 | 14.63 | 35.9 | -4.6 | 20 | 13 | 4 | 8 | 14 | 2 | 7 | 40,001 - 50,000 | NE | Newcastle | North England | 47.45 | 29.4569 | Cavity_Insulated | Solid | Pitched | 109 | 2022-01-06 04:00 | 0.03 | 3.323 | 9.712 | 16.59 | 1.63 | 3.323
EOH2416 | 2.249 | 22.649 | 50.9377 | 0.28614 | 277.165 | 9.2388 | 824.5208 | 33.06 | 14.31 | 35.9 | -4.6 | 21 | 12 | 3 | 4 | 8 | 4 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 22.18 | 16.1804 | Cavity_Insulated | Suspended | Pitched | 102 | 2022-01-06 04:00 | 0.03 | 2.981 | 7.793 | 19.43 | 0.27 | 1.256
EOH0341 | 5.2017 | 9.7447 | 50.6888 | 0.31236 | 443.455 | 14.7818 | 979.4717 | 27.96 | 15.49 | 35.5 | -3.1 | 18 | 12 | 4 | 8 | 8 | 2 | 11.2 | 40,001 - 50,000 | OX | Oxford | South England | 49.46 | 28.3403 | Solid_No_insulation | Solid | Pitched | 192.36 | 2021-11-29 07:00 | 0.18 | 2.455 | 7 | 17.66 | 0.11 | 2.379
EOH2094 | 1.161 | 42.4244 | 49.2536 | 0.23657 | 307.4433 | 10.2481 | 747.2167 | 33.58 | 14.55 | 35.9 | -4.6 | 16 | 7 | 5 | 7 | 10 | 2 | 7 | 20,001 - 25,000 | DH | Durham | North England | 26.39 | 22.976 | Cavity_Insulated | Suspended | Pitched | 164 | 2022-01-06 04:00 | 2.73 | 3.029 | 8.793 | 16.37 | 2.21 | 0.853
EOH1944 | 4.1486 | 11.6681 | 48.4058 | 0.3251 | 298.8242 | 9.9608 | 966.415 | 28.89 | 13.15 | 36.5 | -3.3 | 19 | 10 | 3 | 7 | 7 | 4 | 8.5 | 50,001+ | TN | Tonbridge | South England | 29.9 | 17.48 | Cavity_Insulated | Solid | Pitched | 88.96 | 2022-01-21 08:00 | 2.25 | 2.619 | 7.093 | 15.04 | 1.92 | 1.833
EOH3196 | 4.1518 | 11.6546 | 48.3874 | 0.25836 | 250.8442 | 8.3615 | 876.655 | 24.5 | 11.25 | 30.68 | -12.6 | 20 | 8 | 3 | 6 | 6 | 2 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 19.41 | 2.8973 | Cavity_No_insulation | Suspended | Pitched | 107.27 | 2022-02-11 08:00 | 2.49 | 2.442 | 6.631 | 17.31 | -2.54 | 1.519
EOH2255 | 1.2832 | 37.6329 | 48.2923 | 0.30463 | 346.8658 | 11.5622 | 1012.3383 | 27.85 | 14.99 | 30.66 | -4.2 | 21 | 15 | 4 | 6 | 6 | 3 | 12 | 50,001+ | KY | Kirkcaldy | Scotland | 28.76 | 20.6329 | Cavity_Insulated | Solid | Pitched | 111.07 | 2022-02-11 07:00 | 5.61 | 5.357 | 11.267 | 20.7 | -3.69 | 0.046
EOH1498 | 5.4195 | 8.8131 | 47.7622 | 0.25858 | 140.6208 | 4.6874 | 413.3992 | 27.37 | 14.63 | 35.9 | -4.6 | 19 | 13 | 3 | 5 | 8 | 2 | 4 | 30,001 - 40,000 | NE | Newcastle | North England | 3.38 | 7.8341 | Cavity_Insulated | Suspended | Pitched | 90 | 2022-01-06 04:00 | 0.15 | 0.693 | 1.704 | 17.57 | 1.59 | 0.19
EOH1366 | 1.948 | 24.1895 | 47.1206 | 0.25223 | 448.2092 | 14.9403 | 1741.5683 | 24.74 | 16.23 | 30.68 | -3.7 | 19 | 10 | 4 | 8 | 8 | 4 | 14 | 50,001+ | EH | Edinburgh | Scotland | 46.1 | 28.4952 | Cavity_Insulated | Suspended | Pitched | 148.68 | 2022-02-11 08:00 | 1.98 | 2.46 | 6.199 | 18.72 | 3.64 | 1.539
EOH0226 | 2.8645 | 16.4287 | 47.0606 | 0.28271 | 304.6567 | 10.1552 | 821.6167 | 28.55 | 9.46 | 35.9 | -4.6 | 18 | 12 | 3 | 5 | 7 | 3 | 7 | 30,001 - 40,000 | NE | Newcastle | North England | 24.41 | 18.7014 | Cavity_Insulated | Suspended | Pitched | 90 | 2022-01-06 04:00 | 1.17 | 2.755 | 7.734 | 15.55 | 1.98 | 1.325
EOH0126 | 5.5521 | 8.3834 | 46.5451 | 0.37601 | 361.4817 | 12.0494 | 949.5133 | 32.19 | 10.47 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 12 | 3 | 7 | 50,001+ | NE | Newcastle | North England | 26.29 | 20.3088 | Cavity_Insulated | Suspended | Pitched | 90 | 2022-01-06 04:00 | 0.03 | 3.193 | 6.933 | 19.91 | 0.31 | 1.377
EOH0094 | 1.1587 | 39.4626 | 45.7263 | 0.24361 | 425.9217 | 14.1974 | 1533.0542 | 25.91 | 14.6 | 30.68 | -3.7 | 19 | 15 | 5 | 7 | 7 | 2 | 14 | 50,001+ | EH | Edinburgh | Scotland | 37.82 | 25.4517 | Cavity_Insulated | Suspended | Pitched | 180.47 | 2022-02-11 08:00 | 0.18 | 4.771 | 8.619 | 18 | 4.28 | 1.83
EOH1705 | 3.5968 | 12.7011 | 45.6827 | 0.31917 | 287.9708 | 9.599 | 941.7375 | 24.38 | 13.75 | 28.4 | -4.1 | 19 | 9 | 3 | 5 | 5 | 3 | 8.5 | Prefer not to say | EH | Edinburgh | Scotland | 19.73 | 15.383 | Cavity_No_insulation | Suspended | Pitched | 155.83 | 2022-02-11 08:00 | 3.15 | 2.726 | 6.905 | 17.84 | -3.26 | 1.958
EOH0311 | 2.9928 | 15.1702 | 45.4019 | 0.28143 | 695.9808 | 23.1994 | 1392.1125 | 27.38 | 13.07 | 35.9 | -4.6 | 20 | 13 | 3 | 5 | 6 | 3 | 11 | 50,001+ | NE | Newcastle | North England | 61.68 | 42.6894 | Cavity_Insulated | Suspended | Pitched | 120 | 2022-01-06 04:00 | 4.26 | 4.778 | 11.282 | 19.49 | 0.58 | 3.333
EOH0018 | 6.6218 | 6.8397 | 45.2905 | 0.38681 | 198.64 | 6.6213 | 758.8942 | 32.93 | 14.25 | 35.9 | -8.2 | 21 | 10 | 3 | 5 | 6 | 2 | 4 | 25,001 - 30,000 | NE | Newcastle | North England | 3.95 | 3.8477 | Cavity_Insulated | Suspended | Pitched | 100 | 2021-02-11 06:00 | 0.09 | 0.919 | 1.473 | 20.5 | -5.63 | 0.084
EOH1521 | 2.3593 | 19.1864 | 45.2675 | 0.25379 | 236.3242 | 7.8775 | 631.7942 | 31.45 | 16.69 | 35.9 | -4.6 | 19 | 12 | 2 | 3 | 6 | 1 | 5 | 12,501 - 16,200 | NE | Newcastle | North England | 23.88 | 14.8947 | Cavity_Insulated | Suspended | Pitched | 57 | 2022-01-06 04:00 | 0.15 | 2.206 | 6.041 | 18.56 | 1.06 | 1.822
EOH0279 | 1.8959 | 23.874 | 45.2624 | 0.26673 | 222.8367 | 7.4279 | 779.6875 | 24.68 | 10.87 | 30.68 | -12.6 | 17 | 8 | 4 | 7 | 7 | 2 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 36.97 | 6.6164 | Cavity_Insulated | Solid | Pitched | 172.33 | 2021-02-11 06:00 | 3.27 | 3.411 | 9.617 | 17.06 | -3.2 | 1.76
EOH0991 | 1.5107 | 29.9519 | 45.2473 | 0.29597 | 390.9192 | 13.0306 | 828.9725 | 26.67 | 12.67 | 37.54 | -3.3 | 21 | 15 | 3 | 4 | 4 | 2 | 11.2 | 50,001+ | TN | Tonbridge | South England | 16.15 | 22.1173 | Cavity_No_insulation | Solid | Pitched | 83.76 | 2022-01-06 07:00 | 0.18 | 2.629 | 7.116 | 16.59 | -0.31 | 2.562
EOH0618 | 3.2707 | 13.8071 | 45.1591 | 0.42726 | 386.1742 | 12.8725 | 961.1258 | 37.43 | 16.31 | 37.54 | -3.4 | 20 | 9 | 5 | 7 | 9 | 3 | 14 | 50,001+ | BN | Brighton | South England | 55.1 | 23.6726 | Cavity_Insulated | Suspended | Pitched | 113 | 2022-01-06 07:00 | 0.09 | 5.136 | 14.536 | 20 | -0.34 | 4.652
EOH1304 | 1.9767 | 22.6698 | 44.8112 | 0.3294 | 342.5858 | 11.4195 | 867.7967 | 30.71 | 17.7 | 35.9 | -4.6 | 21 | 12 | 4 | 6 | 8 | 2 | 7 | Prefer not to say | NE | Newcastle | North England | 32.92 | 21.1559 | Cavity_Insulated | Solid | Pitched | 100 | 2022-01-06 04:00 | 0.36 | 2.789 | 7.369 | 19.5 | 0.21 | 2.789
EOH0857 | 2.174 | 20.6015 | 44.7885 | 0.26494 | 326.3567 | 10.8786 | 987.2808 | 25.75 | 15.36 | 30.66 | -4.2 | 20 | 9 | 3 | 5 | 5 | 4 | 7 | 50,001+ | KY | Kirkcaldy | Scotland | 28.67 | 18.6117 | Cavity_Insulated | Suspended | Pitched | 97.28 | 2022-02-11 07:00 | 1.44 | 2.369 | 5.639 | 17.07 | 3.65 | 0.918
EOH2333 | 2.7403 | 16.3148 | 44.708 | 0.3003 | 342.405 | 11.4135 | 959.4783 | 27.26 | 13.38 | 35.9 | -4.6 | 18 | 10 | 3 | 5 | 8 | 2 | 7 | 40,001 - 50,000 | NE | Newcastle | North England | 23.19 | 22.4367 | Cavity_Insulated | Suspended | Pitched | 106 | 2022-01-06 04:00 | 0.99 | 2.987 | 8.177 | 19.6 | 1.45 | 2.641
EOH1777 | 5.3669 | 8.2384 | 44.2148 | 0.43602 | 346.2267 | 11.5409 | 827.9392 | 30.53 | 15.72 | 32.3 | -4 | 20 | 10 | 3 | 6 | 6 | 2 | 7 | 50,001+ | PO | Portsmouth | South England | 29.65 | 19.8704 | Solid_Insulated | Solid | Pitched | 78.12 | 2022-01-06 07:00 | 3.54 | 3.352 | 6.511 | 19.37 | -4 | 2.681
EOH2619 | 2.1382 | 20.6699 | 44.1972 | 0.27781 | 321.0967 | 10.7032 | 1006.6058 | 25 | 12.18 | 28.4 | -4.1 | 20 | 10 | 4 | 8 | 8 | 0 | 12 | 25,001 - 30,000 | EH | Edinburgh | Scotland | 33.94 | 18.4343 | Cavity_Insulated | Suspended | Pitched | 234.01 | 2022-02-11 08:00 | 4.08 | 4.825 | 8.567 | 17.37 | -1.59 | 0.049
EOH1614 | 4.5437 | 9.7223 | 44.1756 | 0.30695 | 249.6092 | 8.3203 | 680.6758 | 28.5 | 13.87 | 30.68 | -12.6 | 20 | 8 | 3 | 4 | 4 | 4 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 26.94 | 4.7863 | Cavity_Insulated | Suspended | Pitched | 80.34 | 2021-02-11 06:00 | 1.44 | 1.806 | 4.846 | 18.81 | -7.59 | 0.371
EOH2244 | 6.0666 | 7.2601 | 44.044 | 0.48433 | 512.9392 | 17.098 | 1410.4175 | 29.43 | 17.05 | 39.08 | -5.5 | 22 | 15 | 4 | 5 | 5 | 2 | 11.2 | 30,001 - 40,000 | KT | Kingston upon Thames | South England | 51.78 | 25.1678 | Cavity_No_insulation | Suspended | Pitched | 183.2 | 2022-01-06 08:00 | 2.31 | 4.27 | 10.663 | 21.8 | -5.31 | 3.243
EOH2303 | 2.8016 | 15.6967 | 43.9756 | 0.31081 | 198.7617 | 6.6254 | 573.3858 | 24.42 | 14.39 | 30.68 | -3.7 | 20 | 15 | 2 | 4 | 4 | 2 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 18.31 | 12.0731 | Cavity_Insulated | Suspended | Pitched | 88.26 | 2022-02-11 07:56 | 0.03 | 2.928 | 6.297 | 18.54 | 2.35 | 0.529
EOH2241 | 2.6569 | 16.4098 | 43.5986 | 0.4209 | 285.9967 | 9.5332 | 920.5567 | 27.93 | 11.31 | 28.64 | -4 | 22 | 8 | 3 | 5 | 5 | 3 | 7 | 50,001+ | G | Glasgow | Scotland | 25.48 | 17.7251 | Cavity_Insulated | Suspended | Pitched | 79.52 | 2022-02-11 06:00 | 0.03 | 2.976 | 8.951 | 22.93 | -0.89 | 1.47
EOH0516 | 3.3037 | 13.1557 | 43.4626 | 0.32452 | 409.4433 | 13.6481 | 1517.3508 | 24.75 | 12 | 30.68 | -4.1 | 21 | 8 | 4 | 7 | 7 | 4 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 37.13 | 6.0605 | Cavity_Insulated | Suspended | Pitched | 126.75 | 2022-02-11 08:00 | 1.95 | 2.457 | 6.936 | 20 | -2.95 | 2.003
EOH1131 | 1.542 | 28.0042 | 43.1818 | 0.41867 | 129.8083 | 4.3269 | 386.0292 | 30.37 | 14.12 | 30.68 | -3.7 | 20 | 15 | 3 | 5 | 5 | 2 | 7 | 16,201 - 20,000 | EH | Edinburgh | Scotland | 9.29 | 6.2065 | Cavity_Insulated | Solid | Pitched | 88.4 | 2022-02-11 07:56 | 0.03 | 1.761 | 2.756 | 16.87 | 4.66 | 0.028
EOH0222 | 1.3478 | 31.9629 | 43.0782 | 0.27957 | 211.5392 | 7.0513 | 634.0583 | 28.34 | 16.67 | 30.66 | -4.2 | 20 | 15 | 4 | 6 | 6 | 3 | 7 | Prefer not to say | EH | Edinburgh | Scotland | 21.77 | 12.7805 | Cavity_Insulated | Suspended | Pitched | 104.34 | 2022-02-11 07:00 | 1.89 | 2.908 | 7.387 | 18.29 | -2.27 | 1.561
EOH1646 | 3.8974 | 11.0328 | 42.999 | 0.24803 | 338.0575 | 11.2686 | 913.8233 | 26.53 | 13.36 | 29.03 | -4.31 | 20 | 14 | 2 | 3 | 3 | 2 | 8.5 | Prefer not to say | ML | Motherwell | Scotland | 26.63 | 20.0978 | Cavity_Insulated | Suspended | Pitched | 85.42 | 2022-03-31 06:00 | 2.88 | 3.085 | 8.35 | 18.2 | -2.58 | 2.565
EOH3062 | 11.5757 | 3.7045 | 42.8825 | 0.30605 | 130.0992 | 4.3366 | 336.6075 | 25.43 | 0.1637 | 35.9 | -4.6 | 21 | 10 | 2 | 4 | 6 | 1 | 4 | 12,501 - 16,200 | NE | Newcastle | North England | 4.69 | 1.5899 | Cavity_Insulated | Solid | Pitched | 73 | 2022-01-06 04:00 | 0.06 | 1.17 | 1.852 | 20.18 | -2.82 | 0.57
EOH3120 | 3.3988 | 12.5908 | 42.7932 | 0.22583 | 363.3117 | 12.1104 | 1015.6908 | 27.89 | 17.33 | 37.54 | -3.3 | 20 | 9 | 4 | 6 | 6 | 2 | 7 | 40,001 - 50,000 | TN | Tonbridge | South England | 40.2 | 20.4205 | Cavity_Insulated | Suspended | Pitched | 130.15 | 2022-01-21 08:00 | 2.13 | 4.846 | 12.062 | 19.42 | -1.57 | 2.771
EOH1852 | 3.9751 | 10.7474 | 42.7216 | 0.33437 | 471.3175 | 15.7106 | 1351.0758 | 26.6 | 14.96 | 30.68 | -3.7 | 20 | 15 | 4 | 8 | 8 | 4 | 14 | 50,001+ | EH | Edinburgh | Scotland | 43.89 | 27.608 | Cavity_No_insulation | Suspended | Pitched | 154.54 | 2022-02-11 08:00 | 2.85 | 3.798 | 9.617 | 18.13 | -3.37 | 3.637
EOH3107 | 2.1003 | 20.256 | 42.5438 | 0.43131 | 575.7325 | 19.1911 | 1743.275 | 23.5 | 12.56 | 30.68 | -12.6 | 19 | 8 | 4 | 6 | 6 | 3 | 8.5 | 50,001+ | FK | Falkirk | Scotland | 61.49 | 10.769 | Cavity_Insulated | Suspended | Pitched | 139.4 | 2021-02-11 06:00 | 2.73 | 3.767 | 10.153 | 18.43 | -4.34 | 2.294
EOH2306 | 2.6211 | 16.075 | 42.1335 | 0.27785 | 340.6967 | 11.3566 | 717.1158 | 27.75 | 9.62 | 30.66 | -10.1 | 20 | 15 | 3 | 6 | 6 | 2 | 12 | Prefer not to say | EH | Edinburgh | Scotland | 37.16 | 7.8886 | Cavity_Insulated | Suspended | Pitched | 117.66 | 2022-02-11 07:00 | 4.59 | 5.222 | 10.608 | 18.37 | -2.78 | 0.03
EOH2634 | 2.1908 | 19.2272 | 42.1235 | 0.27304 | 556.7433 | 18.5581 | 588.6167 | 27.12 | 16.22 | 30.68 | -3.7 | 20 | 15 | 4 | 8 | 8 | 3 | 14 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 50.64 | 36.9567 | Cavity_Insulated | Suspended | Pitched | 243.6 | 2022-02-11 08:00 | 5.37 | 5.595 | 14.49 | 19.32 | 4.57 | 1.457
EOH3055 | 6.3472 | 6.6129 | 41.9732 | 0.40926 | 304.845 | 10.1615 | 822.72 | 27.62 | 12.75 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 7 | 2 | 7 | 16,201 - 20,000 | NE | Newcastle | North England | 17.34 | 15.6398 | Cavity_Insulated | Solid | Pitched | 90 | 2022-01-06 04:00 | 0.06 | 2.343 | 3.956 | 15.93 | -2.84 | 0.853
EOH0233 | 1.469 | 28.5538 | 41.9463 | 0.28215 | 393.84 | 13.128 | 1275.875 | 26.87 | 15.53 | 30.68 | -3.7 | 21 | 10 | 5 | 8 | 8 | 4 | 12 | 50,001+ | EH | Edinburgh | Scotland | 33.44 | 23.4163 | Cavity_Insulated | Suspended | Pitched | 184.25 | 2022-02-11 08:00 | 0.33 | 4.599 | 10.989 | 19.08 | -2.95 | 0.367
EOH1186 | 2.2367 | 18.6304 | 41.6706 | 0.32075 | 433.1625 | 14.4387 | 1361.21 | 27.21 | 16.18 | 30.66 | -4.2 | 20 | 15 | 3 | 5 | 5 | 3 | 12 | Prefer not to say | KY | Kirkcaldy | Scotland | 37.74 | 26.3908 | Cavity_Insulated | Suspended | Pitched | 113.15 | 2022-02-11 07:00 | 2.28 | 3.07 | 7.714 | 17.51 | 0.82 | 1.74
EOH2308 | 2.4858 | 16.7322 | 41.5921 | 0.22038 | 251.6608 | 8.3887 | 814.7758 | 24.17 | 9.23 | 30.68 | -3.7 | 17 | 10 | 4 | 8 | 8 | 2 | 12 | Prefer not to say | KY | Kirkcaldy | Scotland | 28.94 | 21.2049 | Cavity_No_insulation | Suspended | Pitched | 166.42 | 2022-02-11 08:00 | 2.46 | 5.011 | 10.392 | 17.28 | 5.98 | 1.147
EOH0745 | 4.0882 | 10.05 | 41.0868 | 0.36134 | 354.3225 | 11.8108 | 1065.6533 | 25.5 | 14.12 | 30.68 | -12.6 | 19 | 9 | 3 | 4 | 4 | 4 | 7 | Prefer not to say | EH | Edinburgh | Scotland | 43.06 | 9.5224 | Cavity_No_insulation | Suspended | Pitched | 94.94 | 2021-02-11 06:00 | 3.21 | 3.264 | 9.383 | 18.5 | -8.79 | 2.197
EOH2125 | 4.7947 | 8.5031 | 40.7699 | 0.34319 | 320.7183 | 10.6906 | 878.1258 | 28.68 | 16 | 35.9 | -4.6 | 20 | 13 | 2 | 3 | 5 | 1 | 7 | 20,001 - 25,000 | NE | Newcastle | North England | 28.26 | 19.7201 | Cavity_Insulated | Suspended | Pitched | 57 | 2022-03-07 07:00 | 3.36 | 3.033 | 7.765 | 20.06 | -1.46 | 1.477
EOH1891 | 3.6845 | 10.968 | 40.4114 | 0.31144 | 238.4233 | 7.9474 | 759.3783 | 27.2 | 13.53 | 30.68 | -3.7 | 18 | 10 | 3 | 5 | 5 | 2 | 8.5 | 16,201 - 20,000 | EH | Edinburgh | Scotland | 18.88 | 9.7973 | Cavity_Insulated | Suspended | Pitched | 96.98 | 2022-02-11 08:00 | 0.96 | 2.482 | 5.951 | 17.35 | 5.73 | 0.253
EOH2739 | 2.422 | 16.5026 | 39.9693 | 0.33159 | 502.0525 | 16.7351 | 1384.16 | 24.81 | 9.87 | 30.68 | -12.6 | 18 | 8 | 4 | 9 | 9 | 5 | 12 | 50,001+ | EH | Edinburgh | Scotland | 72.4 | 9.4475 | Cavity_Insulated | Suspended | Pitched | 159.48 | 2021-02-11 06:00 | 2.1 | 5.291 | 15.231 | 21.25 | -4.3 | 1.195
EOH2679 | 3.2583 | 12.1862 | 39.7065 | 0.25209 | 394.9425 | 13.1648 | 1515.6033 | 32.4 | 14.91 | 36.5 | -3.3 | 18 | 10 | 3 | 6 | 6 | 2 | 11.2 | 50,001+ | TN | Tonbridge | South England | 42.51 | 26.6829 | Cavity_Insulated | Suspended | Pitched | 104.7 | 2022-01-21 08:00 | 4.23 | 3.118 | 8.625 | 19.52 | 3.01 | 2.566
EOH2168 | 1.5691 | 25.2777 | 39.6642 | 0.32718 | 607.9033 | 20.2634 | 1821.4425 | 27.63 | 13.68 | 30.68 | -3.7 | 22 | 15 | 3 | 8 | 8 | 3 | 12 | 25,001 - 30,000 | EH | Edinburgh | Scotland | 74.48 | 38.3579 | Cavity_No_insulation | Suspended | Pitched | 190.14 | 2022-02-11 08:00 | 5.46 | 5.321 | 14.668 | 20.24 | 5.03 | 3.232
EOH0033 | 3.018 | 13.1191 | 39.5929 | 0.35706 | 363.46 | 12.1153 | 916.4983 | 26.68 | 7.93 | 30.68 | -3.7 | 20 | 15 | 4 | 6 | 6 | 4 | 12 | 50,001+ | EH | Edinburgh | Scotland | 46.38 | 21.2238 | Cavity_Insulated | Suspended | Pitched | 108.32 | 2022-02-11 08:00 | 5.52 | 4.79 | 10.295 | 13.62 | -2.72 | 0.723
EOH1530 | 1.4753 | 26.5133 | 39.1156 | 0.2844 | 380.7183 | 12.6906 | 1144.905 | 27.55 | 11.12 | 30.66 | -4.2 | 21 | 15 | 4 | 7 | 7 | 4 | 11.2 | 50,001+ | KY | Kirkcaldy | Scotland | 34.54 | 27.4812 | Cavity_Insulated | Solid | Pitched | 134.45 | 2022-02-11 07:00 | 4.8 | 5.516 | 14.153 | 19.8 | -3.72 | 3.286
EOH0380 | 1.0326 | 37.3788 | 38.597 | 0.25513 | 457.9433 | 15.2648 | 1305.9083 | 28.4 | 14.8 | 30.68 | -3.7 | 22 | 15 | 4 | 8 | 8 | 2 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 50.47 | 32.082 | Cavity_Insulated | Suspended | Pitched | 157.16 | 2022-02-11 08:00 | 5.16 | 5.288 | 15.181 | 20.99 | 5.44 | 0.024
EOH2734 | 2.1491 | 17.957 | 38.5916 | 0.24626 | 324.1858 | 10.8062 | 1062.4 | 20.76 | 10.42 | 30.68 | -3.7 | 17 | 15 | 3 | 4 | 4 | 2 | 8.5 | Prefer not to say | EH | Edinburgh | Scotland | 33.41 | 20.3454 | Cavity_No_insulation | Suspended | Pitched | 88.67 | 2022-02-11 08:00 | 0.18 | 2.534 | 6.233 | 12.45 | 4.31 | 1.67
EOH2079 | 5.077 | 7.5859 | 38.5142 | 0.49728 | 372.165 | 12.4055 | 1043.06 | 28.72 | 15.48 | 30.68 | -3.7 | 21 | 15 | 2 | 3 | 3 | 2 | 7 | 50,001+ | EH | Edinburgh | Scotland | 38.89 | 24.5728 | Cavity_Insulated | Suspended | Pitched | 84.63 | 2022-02-11 08:00 | 3.18 | 3.306 | 8.868 | 21.05 | 4.51 | 2.426
EOH2483 | 3.432 | 11.0612 | 37.9619 | 0.48575 | 324.3383 | 10.8113 | 1257.2392 | 26.57 | 15.49 | 28.64 | -3.4 | 18 | 13 | 3 | 5 | 5 | 2 | 14 | Prefer not to say | G | Glasgow | Scotland | 29.92 | 21.2145 | Cavity_Insulated | Suspended | Pitched | 171.93 | 2022-02-11 06:00 | 3.39 | 3.915 | 7.707 | 17.47 | -3.4 | 3.915
EOH2578 | 1.9391 | 19.4297 | 37.6751 | 0.35822 | 428.1158 | 14.2705 | 1316.6192 | 24.62 | 12.56 | 30.66 | -10.1 | 20 | 7 | 4 | 7 | 7 | 2 | 12 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 55.35 | 8.1251 | Cavity_No_insulation | Suspended | Pitched | 183.18 | 2021-02-11 04:00 | 1.95 | 5.088 | 12.128 | 18.62 | -9.79 | 5.088
EOH1109 | 1.1725 | 31.9534 | 37.4645 | 0.31928 | 319.6258 | 10.6542 | 701.2842 | 30.73 | 10.8 | 35.9 | -4.6 | 15 | 12 | 4 | 7 | 12 | 2 | 7 | Prefer not to say | NE | Newcastle | North England | 35.74 | 21.8014 | Cavity_Insulated | Solid | Pitched | 94 | 2022-01-06 04:00 | 1.56 | 2.949 | 6.791 | 14.04 | 2.22 | 1.43
EOH2852 | 3.5921 | 10.2674 | 36.8818 | 0.40202 | 55.9608 | 1.8654 | 1131.1292 | 29.35 | 0.1832 | 35.9 | -8.2 | 21 | 10 | 3 | 4 | 7 | 3 | 4 | 0 - 12,500 | NE | Newcastle | North England | 3.13 | 0.41955 | Cavity_Insulated | Solid | Pitched | 130 | 2021-02-11 06:00 | 0.03 | 0.823 | 1.147 | 23.38 | -5.1 | 0.006
EOH3151 | 9.2237 | 3.9336 | 36.2828 | 0.44693 | 258.0775 | 8.6026 | 711.9875 | 28.22 | 14.91 | 28.4 | -4.2 | 19 | 8 | 2 | 3 | 3 | 3 | 5 | 12,501 - 16,200 | TD | Galashiels | Scotland | 26.5 | 15.6918 | Cavity_Insulated | Suspended | Pitched | 76.08 | 2022-02-11 08:00 | 2.19 | 1.984 | 3.89 | 18.46 | 4.57 | 0.512
EOH3040 | 2.5417 | 14.2503 | 36.2196 | 0.34338 | 444.84 | 14.828 | 1054.515 | 30.09 | 12.84 | 37.54 | -3.3 | 19 | 15 | 3 | 7 | 3 | 4 | 11.2 | 30,001 - 40,000 | TN | Tonbridge | South England | 41.62 | 29.1094 | Cavity_Insulated | Suspended | Pitched | 118 | 2022-01-06 07:00 | 0.15 | 4.566 | 10.349 | 16.93 | -0.87 | 2.789
EOH2637 | 4.3375 | 8.2508 | 35.7875 | 0.31487 | 104.4133 | 3.4804 | 284.39 | 26.12 | 11.37 | 35.9 | -4.6 | 20 | 9 | 3 | 5 | 7 | 4 | 4 | 40,001 - 50,000 | NE | Newcastle | North England | 3.6 | 6.9414 | Cavity_Insulated | Suspended | Pitched | 95 | 2022-01-06 04:00 | 0.06 | 0.97 | 1.753 | 19.25 | 0.61 | 0.282
EOH1251 | 4.4642 | 7.8399 | 34.9988 | 0.43588 | 288.24 | 9.608 | 809.895 | 26.43 | 10.71 | 30.68 | -3.7 | 19 | 15 | 3 | 5 | 4 | 2 | 8.5 | 30,001 - 40,000 | EH | Edinburgh | Scotland | 26.28 | 17.5228 | Cavity_Insulated | Suspended | Pitched | 90.04 | 2022-02-11 08:00 | 0.12 | 2.775 | 6.921 | 15.58 | 4.85 | 0.315
EOH0391 | 2.5497 | 13.6953 | 34.9187 | 0.26015 | 169.9733 | 5.6658 | 418.8083 | 23.89 | 11.02 | 30.68 | -4.1 | 18 | 10 | 2 | 4 | 4 | 1 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 19.37 | 2.3638 | Cavity_No_insulation | Suspended | Pitched | 73.26 | 2022-02-11 08:00 | 0.63 | 2.802 | 6.447 | 14.89 | 3.96 | 1.485
EOH2808 | 4.8272 | 7.2215 | 34.8599 | 0.34797 | 244.8233 | 8.1608 | 837.315 | 28.23 | 10.75 | 28.4 | -4.1 | 21 | 13 | 3 | 5 | 5 | 3 | 8.5 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 8.6 | 15.2239 | Cavity_No_insulation | Suspended | Pitched | 107.13 | 2022-02-11 08:00 | 2.1 | 2.531 | 5.912 | 19.23 | -1.66 | 1.361
EOH2988 | 0.95527 | 36.1773 | 34.5591 | 0.27052 | 153.035 | 5.1012 | 434.9458 | 25.68 | 12.43 | 30.68 | -3.7 | 18 | 15 | 2 | 4 | 4 | 2 | 7 | 20,001 - 25,000 | EH | Edinburgh | Scotland | 17.04 | 9.1676 | Cavity_Insulated | Solid | Pitched | 70.38 | 2022-02-11 08:00 | 3.15 | 2.739 | 4.299 | 16.43 | -2.61 | 1.439
EOH2788 | 4.8757 | 6.9974 | 34.1173 | 0.43195 | 395.7908 | 13.193 | 843.5683 | 31.18 | 13.37 | 35.9 | -4.6 | 20 | 12 | 3 | 5 | 5 | 3 | 7 | 20,001 - 25,000 | NE | Newcastle | North England | 35.58 | 22.9848 | Cavity_Insulated | Solid | Pitched | 100 | 2022-01-06 04:00 | 0.06 | 3.366 | 9.519 | 19.06 | 0.75 | 2.82
EOH1302 | 4.9505 | 6.6985 | 33.1606 | 0.41942 | 357.6925 | 11.9231 | 989.7525 | 29.31 | 7.62 | 35.9 | -8.2 | 19 | 10 | 4 | 5 | 11 | 4 | 7 | 50,001+ | NE | Newcastle | North England | 36.96 | 6.6217 | Cavity_Insulated | Solid | Pitched | 110 | 2021-02-11 06:00 | 2.73 | 2.678 | 7.311 | 18.56 | -6.78 | 2.346
EOH2549 | 3.4426 | 9.6228 | 33.1271 | 0.2964 | 343.1533 | 11.4384 | 1076.6158 | 26.22 | 13.85 | 28.4 | -4.1 | 19 | 9 | 3 | 5 | 5 | 2 | 8.5 | Prefer not to say | EH | Edinburgh | Scotland | 22.13 | 16.12 | Cavity_Insulated | Suspended | Pitched | 136.2 | 2022-02-11 08:00 | 0.06 | 3.336 | 8.567 | 19.12 | 4.26 | 2.824
EOH1097 | 2.5806 | 12.8105 | 33.0588 | 0.28202 | 344.935 | 11.4978 | 785.5875 | 28.59 | 12.57 | 35.9 | -4.6 | 19 | 12 | 2 | 5 | 6 | 2 | 10 | 30,001 - 40,000 | NE | Newcastle | North England | 30.3 | 20.8971 | Cavity_Insulated | Suspended | Pitched | 60 | 2022-01-06 04:00 | 0.03 | 4.789 | 8.736 | 17.12 | 2.22 | 3.085
EOH2512 | 2.2356 | 14.5956 | 32.6299 | 0.37434 | 528.7358 | 17.6245 | 1602.1575 | 26.24 | 14.75 | 30.68 | -3.7 | 19 | 10 | 3 | 7 | 7 | 2 | 12 | 50,001+ | EH | Edinburgh | Scotland | 51.15 | 34.0442 | Cavity_Insulated | Suspended | Pitched | 198.96 | 2022-02-11 08:00 | 5.61 | 5.42 | 15.057 | 18.14 | 4.42 | 0.041
EOH0258 | 6.0077 | 5.3989 | 32.4349 | 0.42741 | 179.0075 | 5.9669 | 494.1 | 29.62 | 17.12 | 28.64 | -8.2 | 23 | 7 | 3 | 7 | 7 | 4 | 7 | 50,001+ | G | Glasgow | Scotland | 2.58 | 1.6881 | Cavity_Insulated | Solid | Pitched | 113.67 | 2022-02-11 06:00 | 0.09 | 1.159 | 1.668 | 23.87 | 2.06 | 0.087
EOH1062 | 6.6866 | 4.8505 | 32.433 | 0.2857 | 222.02 | 7.4007 | 690.9583 | 24.94 | 14.6 | 30.68 | -3.7 | 19 | 10 | 4 | 5 | 5 | 3 | 8.5 | 50,001+ | EH | Edinburgh | Scotland | 22.04 | 13.0376 | Cavity_Insulated | Suspended | Pitched | 104.24 | 2022-02-11 08:00 | 2.28 | 3.07 | 6.788 | 17.67 | 3.98 | 1.114
EOH2101 | 3.3552 | 9.3978 | 31.5319 | 0.36965 | 262.4633 | 8.7488 | 650.7908 | 23.81 | 13.62 | 30.68 | -12.6 | 20 | 8 | 3 | 4 | 4 | 3 | 8.5 | 50,001+ | KY | Kirkcaldy | Scotland | 21.99 | 6.2345 | Cavity_Insulated | Solid | Pitched | 97.28 | 2021-02-11 06:00 | 3.36 | 3.265 | 8.139 | 17.06 | -3.62 | 0.462
EOH2646 | 2.1815 | 13.4431 | 29.3259 | 0.46579 | 281.0708 | 9.369 | 367.8558 | 25.62 | 12.31 | 26.8 | -8.2 | 23 | 5 | 2 | 3 | 5 | 2 | 5 | 50,001+ | NE | Newcastle | North England | 20.46 | 4.7154 | Cavity_Insulated | Solid | Pitched | 42 | 2021-02-11 06:00 | 0.81 | 2.25 | 5.62 | 22.43 | 0.36 | 1.726
EOH2523 | 3.7094 | 7.8169 | 28.996 | 0.32312 | 257.3033 | 8.5768 | 773.6542 | 25.96 | 13.7 | 31.3 | -7.2 | 20 | 12 | 2 | 4 | 4 | 1 | 5 | 0 - 12,500 | TD | Galashiels | Scotland | 20.7 | 14.4777 | Cavity_Insulated | Solid | Pitched | 68.72 | 2022-01-06 00:58 | 0.03 | 1.728 | 4.727 | 18.59 | 0.43 | 1.505
EOH2212 | 3.4214 | 8.3106 | 28.4345 | 0.40271 | 226.0925 | 7.5364 | 559.105 | 27.43 | 6.43 | 28.4 | -11.9 | 19 | 8 | 2 | 3 | 3 | 3 | 5 | Prefer not to say | TD | Galashiels | Scotland | 24.46 | 4.7268 | Cavity_Insulated | Suspended | Pitched | 71.5 | 2021-02-11 07:00 | 0.09 | 2.102 | 5.953 | 18.81 | -4.71 | 1.996
EOH0063 | 4.676 | 5.7892 | 27.0703 | 0.38904 | 255.9108 | 8.5304 | 711.08 | 32.54 | 15.65 | 35.9 | -4.6 | 19 | 10 | 2 | 3 | 5 | 1 | 7 | 0 - 12,500 | NE | Newcastle | North England | 23.61 | 16.6964 | Cavity_Insulated | Suspended | Pitched | 58 | 2022-01-06 04:00 | 0.03 | 2.289 | 4.862 | 18.42 | 0.5 | 1.939
EOH0082 | 4.2258 | 6.1917 | 26.1649 | 0.48293 | 461.0467 | 15.3682 | 1455.3208 | 28.68 | 12.34 | 30.68 | -4.1 | 19 | 10 | 4 | 6 | 6 | 3 | 8.5 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 37.03 | 25.4002 | Cavity_Insulated | Solid | Pitched | 126.4 | 2022-02-11 08:00 | 2.37 | 2.817 | 7.873 | 20.01 | 5.87 | 2.246
EOH0501 | 1.7475 | 14.7048 | 25.6972 | 0.32756 | 328.21 | 10.9403 | 945.4117 | 27.52 | 12.35 | 30.68 | -4.1 | 19 | 10 | 2 | 5 | 5 | 2 | 7 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 27.95 | 20.6516 | Cavity_Insulated | Suspended | Pitched | 119.24 | 2022-02-11 08:00 | 3.24 | 3.318 | 7.423 | 18.62 | 4.33 | 0.021
EOH2609 | 2.5712 | 9.4218 | 24.2257 | 0.31196 | 507.6892 | 16.923 | 1592.7383 | 25.2 | 11.09 | 30.68 | -3.7 | 19 | 15 | 4 | 9 | 9 | 4 | 14 | 40,001 - 50,000 | EH | Edinburgh | Scotland | 47.55 | 31.6357 | Cavity_Insulated | Suspended | Pitched | 179.49 | 2022-02-11 08:00 | 5.28 | 4.84 | 12.377 | 18.07 | 4.36 | 1.536
EOH1718 | 5.1797 | 4.2664 | 22.0984 | 0.44196 | 414.4408 | 13.8147 | 1030.9842 | 28.07 | 14.14 | 28.4 | -4.1 | 20 | 7 | 3 | 4 | 4 | 0 | 8.5 | 12,501 - 16,200 | TD | Galashiels | Scotland | 36.62 | 26.95 | Cavity_Insulated | Solid | Pitched | 84.39 | 2022-02-11 08:00 | 0.15 | 3.268 | 6.778 | 16.11 | 4.62 | 0.674